22 July 1996

EUROBALL PROJECT

G.I.R. Technical Document for

F.V.I. (Fera to VXI Interface)

by: N. Karkour, D. Linget,

with the collaboration of J.L. Pedroza (C.E.N.B.G.)

1.	FVI AP Description.

· 1.1) AP1 :

All the signals below are controlled by the LCA DECODE1.

- CS_LUT1 : Chip Select for the LookUp Table for the Fera channel 1.

- CS_Req1TM : Chip Select for the Request time out register for the Fera channel 1.

- CS_Ren1Delay : Chip Select for the Renin Delay register for the Fera channel 1.

- CS_Gate1D : Chip Select for the Gate Delay register for the Fera channel 1.

- CS_Gate1W : Chip Select of channel 1 for the Gate Width register for the Fera channel 1.

- CS_FIFO1W: Chip Select for the FIFO for the Fera channel 1.

- CS1_vsnm : Chip Select for the VSN select register; m is the VSN number ( 1 to 4 ).

- CS_LUT2 : Chip Select for the LookUp Table for the Fera channel 2.

- CS_Req2TM : Chip Select for the Request time out register for the Fera channel 2.

- CS_Ren2Delay : Chip Select for the Renin Delay register for the Fera channel 2.

- CS_Gate2D : Chip Select for the Gate Delay register for the Fera channel 2.

- CS_Gate2W : Chip Select for the Gate Width register for the Fera channel 2.

- CS_FIFO2W: Chip Select for the FIFO for the Fera channel 2.

- CS2_vsnm : Chip Select of channel 2 for the VSN register; m is the VSN number ( 1 to 4).

- Strobe_FVI : Strobe signal used to latch the datas inside the FVI card during a complete VME cycle.

- ft_tmout : Chip Select for the time out register of the FT (Fast Trigger) pulse signal.

- ft_delay : Chip Select for the delay register of the FT pulse signal.

- ft_width : Chip Select for the width register of the FT pulse signal.

- ft_counter : Chip Select for the load operation of the FT counter.

- val_tmout : Chip Select for the time out register of the VAL (Validation) pulse signal.

- val_delay : Chip Select for the delay register of the VAL pulse signal.

- val_width : Chip Select for the width register of the VAL pulse signal.

- val_counter : Chip Select for the load operation of the VAL counter.

- trig_counter : Chip Select for the load operation of the trigger counter.

- Go*/Stop : This signal is the EUROBALL III GO*/STOP.

- Card_select : This signal can be used to enable the data bus buffer on the Analog card. It is active, during a complete VME cycle, when the G.I.R. is selected.

- SclkProm: serial PROM Clock signal of the FVI Analog card.

- CSProm : serial PROM Chip Select signal of the FVI  Analog card.

- DProm_Write:  serial PROM Data write to the FVI  Analog card.

- DProm_Read:  serial PROM Data to be read out of the FVI  Analog card.

(see E²Prom connection figure).

- FTPulseTest : Calibrated FT pulse signal used for the test ( @ 200 ns ).

- ValPulseTest : Calibrated VAL pulse signal used for the test ( @ 200 ns ).

- TrigPulseTest : Calibrated Trigger pulse signal used for the test ( @ 200 ns ).

- ClrFTcounter : Clear signal for the FT counter.

- ClrValcounter : Clear signal for the VAL counter.

- ClrTrigcounter : Clear signal for the Trigger counter.

- Reg_Io : these signals are not used in the FVI card, they are controlled by the LCA DECOD1. They can be used by the Analog card for future applications.

All the signals below fixed signal.

- ADD[7..1] : this is the lowest byte of the VME Address bus, it is enabled by the LCA DECOD1.

- AFLAG1 : Free Analog signal from the Analog card, controlled by the DSP (via an ADC).

- RDFLAG1,2 : Free Digital signals from the Analog card, controlled by the LCA READOUT.

- LED 1: display signal of a LED indicator driven by an open collector from G.I.R. to the front panel.

ALL Chip Select Signals are TTL Active high signals except that of CSPROM signal.

· 1.2) AP2 :

- 16 MHz: buffered VME System Clock signal.

- MReg: 8 bits Module Register, each signal enable or disable a common function on the Analog card :

0 ==> Test/Run* : mode of operation.

1 ==> ET0 : .

2 ==> ET1 : .

3 ==> Reject : enable/disable* the rejection.

4 ==> WP Prom : DIsable/Enable* E²Prom Write Protect.

5 ==> Req1 : enable the Request for the Fera channel 1 interface.

6 ==> Req2 : enable the Request for the Fera channel 2 interface.

7 ==> CDT : Common Dead Time mode register.

All the signals below fixed signal.

- ADD[23..8] : these are the other 2 bytes of the VME Address bus, they are enabled by the LCA DECOD1.

- AIn : Analogue Inspection Lines, n is the inspection line indicator.

- DIn : Digital Inspection Lines, n is the inspection line indicator.

- VI : Voltage Inspection Line.

- DATA[15..0] : these are the lower sixteen bits of the GIR Analog Data bus. This bus has 2 functions : it is the VME data bus during read-write operation of the SAROC and FIFO data bus during Readout mechanism.

- EVT_IN[3..0] : these lines are the current event number, they are given by the MASTER Trigger via the VXI Local bus to the Analog cards with Validation (LBus [11..8]).

All the signals below are controlled by the Readout LCA.

- Datatready : data ready given by the Readout Chip when a data is ready to be latched in the FIFO.

- Dtack : buffered data acknowledge signal for each data word of the Readout Chip in a Readout cycle.

- Renin : start Readout cycle for the FVI card.

- LPass : Last PASS, this is the renout signal of the FVI and it presents the end of the internal Readout cycle.

- GLOBAL RESET : buffered global Reset signal of all the Analog card.

- R/W_buf : buffered VME read-write signal.

- Valack : Validation Acknowledge signal given by the FVI card. This signal is active during validation to validate that there are data to be read out.

- StartReadout :  ????  This signal latches the ADC data in the SAROC internal registers, the back edge of this signal starts the internal Readout cycle.

- LT_Reset : buffered Reset signal for the Local Trigger.

- Coding : This is the coding dead time signal, which indicates that the ADC are coding, and no VME Action must take place. This signal goes to the MASTER Trigger as an open collector at the Back plane.

- Reg_Io : these signals are not used in the FVI card, they are controlled by the LCA DECODE2. They can be defined for future applications.

- READ [17, 16, 8, 5..2] : these signals are dedicated for Readout interface and are not used in the FVI card, they are controlled by the LCA READOUT. They can be defined for future applications.

All the signals below fixed signal.

- AFLAG2 : Free Analog signal from the Analog card, controlled by the DSP (via an ADC).

- RDFLAG3,4 : Free Digital signals from the Analog card, controlled by the LCA READOUT.

- LED2 : display signal of a LED indicator driven by an open collector from G.I.R. to the front panel.

· 1.3) AP3 :

All the signals below fixed signal.

- DATA[31..16] : these are the sixteen higher bits of the GIR Analog Data bus. This bus has 2 functions : it is the VME data bus during read-write operation of the SAROC and FIFO data bus during Readout.

- EVT_out[3..0] : these lines are the event number that are sent with the data during acquisition mode, and are written in the FIFO.

- READ [22..18] : these signals are dedicated for Readout interface and are not used in the FVI card, they are controlled by the LCA READOUT. They can be defined for future applications.

- FT_ttl_buf : buffered Fast Trigger signal ( positive TTL ) from the MASTER Trigger (starx on the VXI back plane).

- Inhibit_buf : buffered Inhibit signal from the MASTER Trigger (on the VXI back plane).

- VAL_buf : buffered Validation signal from the MASTER Trigger (on the VXI back plane).

- FT_ECL -, FT_ECL+ : Not used signals by the FVI card.

- DSPFLAG1, 2, 3 : these signals are not used for the moment in Euroball. They can be used later as a connection between the DSP, and the FVI card. They are controlled by the DSP.

- LED3 : display signal of a LED indicator driven by an open collector from G.I.R. to the front panel.

All the signals below are controlled by the LCA DECODE2.

- EF1, EF2 : Empty flag signals of FVI Fifo Channel 1, and 2 respectively.

- HF1, HF2 : Half Full flag signals of FVI Fifo Channel 1, and 2 respectively.

- FF1, FF2 : Full flag signals of FVI Fifo Channel 1, and 2 respectively.

- Inhibit_FVI : Inhibit signal of the Diamant Trigger.

- Reject_FVI : Reject signal of the Diamant Trigger.

- DigSelAn : select signal of the digital multiplexers for the digital inspection line 1, n is the multiplexer select bit (n = 0 to 3).

- DigSelBn : select signal of the digital multiplexers for the digital inspection line 2, n is the multiplexer select bit (n = 0 to 3).

- DigOE1 & 2: output enable signal of the multiplexers for the Digital Inspection lines 1 & 2.

- VSel[3..0] : select bus of the voltage multiplexers. These signals must be common to all voltage multiplexers.

- Venable : enable signal of the voltage multiplexer.

- Reg_Io : these signals are not used in the Euroball BGO cards, they can be defined for future applications.

- Vstrobe: load signal of all the voltage multiplexers.

- LBUSA[31:30]: VXI Local bus signals from the Backplane.

- LBUSC[31:30]: VXI Local bus signals from the Backplane.

Pinouts of the FVI AP Connector:

|  | AP1 Connector |  |  |  | AP2 Connector |  |  |  | AP3 Connector |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| PIN NO. |  | ROW A | ROW B | ROW C |  | ROW A | ROW B | ROW C |  | ROW A | ROW B | ROW C |  | PIN NO. |
| 1 |  | +5 V | VPTAT | +5 V |  | +5 V | AFLAG2 | +5 V |  | +5v | DSPFLAG1 | +5v |  | 1 |
| 2 |  | +5 V | +5v | +5 V |  | +5 V | +5 V | +5 V |  | +5v | +5v | +5v |  | 2 |
| 3 |  | CS_Lut1 | OVER 1 | CSReq1Tm |  | Reg_Io | RDFLAG3 | Reg_Io |  | DATA 16 | DSPFLAG2 | DATA 17 |  | 3 |
| 4 |  | CSRen1Delay | UNDER1 | CSGate1D |  | Reg_Io | RDFLAG4 | Reg_Io |  | DATA 18 | DSPFLAG3 | DATA 19 |  | 4 |
| 5 |  | CSGate1W | LED | CSCTRL1 |  | Reg_Io | LED | Reg_Io |  | DATA 20 | LED | DATA 21 |  | 5 |
| 6 |  | CS_FIFO1 | GND | CS1_vsn1 |  | 16 Mhz | GND | Reg_Io |  | DATA 22 | GND | DATA 23 |  | 6 |
| 7 |  | CS1_vsn2 | GND | CS1_vsn3 |  | GND | GND | Test/Run* |  | GND | GND | GND |  | 7 |
| 8 |  | CS1_vsn4 | GND | CS_Lut2 |  | ADD 8 | GND | ADD 9 |  | DATA 24 | GND | DATA 25 |  | 8 |
| 9 |  | CSReq2Tm | GND | CSRen2Delay |  | ADD 10 | GND | ADD 11 |  | DATA 26 | GND | DATA 27 |  | 9 |
| 10 |  | CSGate2D | GND | CSGate2W |  | ADD 12 | GND | ADD 13 |  | DATA 28 | GND | DATA 29 |  | 10 |
| 11 |  | CSCTRL2 | GND | CS_FIFO2 |  | ADD 14 | GND | ADD 15 |  | DATA 30 | GND | DATA 31 |  | 11 |
| 12 |  | CS2_vsn1 | GND | CS2_vsn2 |  | ADD 16 | GND | ADD 17 |  | GND | GND | GND |  | 12 |
| 13 |  | CS2_vsn3 | GND | CS2_vsn4 |  | ADD 18 | GND | ADD 19 |  | EVT_out0 | GND | EVT_out1 |  | 13 |
| 14 |  | Strobe_FVI | GND | ft_tmout |  | ADD 20 | GND | ADD 21 |  | EVT_out2 | GND | EVT_out3 |  | 14 |
| 15 |  | ft_delay | GND | ft_counter |  | ADD 22 | GND | ADD 23 |  | READ 18 | GND | READ 19 |  | 15 |
| 16 |  | -5.2 V | GND | -5.2 V |  | -5.2 V | GND | -5.2 V |  | -5.2 V | GND | -5.2 V |  | 16 |
| 17 |  | -5.2 V | -5.2 V | -5.2 V |  | -5.2 V | -5.2 V | -5.2 V |  | -5.2 V | -5.2 V | -5.2 V |  | 17 |
| 18 |  | ft_width | GND | val_tmout |  | ET0 | GND | ET1 |  | READ 20 | GND | READ 21 |  | 18 |
| 19 |  | val_delay | GND | val_width |  | Reject | GND | WP Prom |  | FT_ECL + | GND | READ 22 |  | 19 |
| 20 |  | val_counter | GND | trig_counter |  | AI 1 | GND | GND |  | GND | GND | FT_ECL - |  | 20 |
| 21 |  | SclkProm | GND | DProm_write |  | GND | GND | GND |  | FT_ttl_buf | GND | Inhibit_buf |  | 21 |
| 22 |  | CSProm | GND | Dprom read |  | AI 2 | GND | GND |  | VAL_buf | GND | Stat_test |  | 22 |
| 23 |  | FTPulseTest | GND | ValPulseTest |  | GND | GND | DI 1 |  | EF1 | GND | EF2 |  | 23 |
| 24 |  | TrigPulseTest | GND | ClrFTCounter |  | DI 2 | GND | GND |  | HF1 | GND | HF2 |  | 24 |
| 25 |  | ClrValCounter | GND | ClrTrigCounter |  | Req1 | GND | VI |  | FF1 | GND | FF2 |  | 25 |
| 26 |  | Go*/Stop | GND | Card_Select |  | Req2 | GND | CDT |  | Inhibit_FVI | GND | Reject_FVI |  | 26 |
| 27 |  | -5.2 V | GND | -5.2 V |  | -5.2 V | GND | -5.2 V |  | -5.2 V | GND | -5.2 V |  | 27 |
| 28 |  | -5.2 V | -5.2 V | -5.2 V |  | -5.2 V | -5.2 V | -5.2 V |  | -5.2 V | -5.2 V | -5.2 V |  | 28 |
| 29 |  | Reg_Io | GND | Reg_Io |  | DATA 0 | GND | DATA 1 |  | DigSelA0 | GND | DigSelA1 |  | 29 |
| 30 |  | Reg_Io | GND | Reg_Io |  | DATA 2 | GND | DATA 3 |  | DigSelA2 | GND | DigSelA3 |  | 30 |
| 31 |  | Reg_Io | GND | Reg_Io |  | DATA 4 | GND | DATA 5 |  | DigSelB0 | GND | DigSelB1 |  | 31 |
| 32 |  | Reg_Io | GND | Reg_Io |  | DATA 6 | GND | DATA 7 |  | DigSelB2 | GND | DigSelB3 |  | 32 |
| 33 |  | Reg_Io | GND | Reg_Io |  | GND | GND | GND |  | DigOE1 | GND | DigOE2 |  | 33 |
| 34 |  | Reg_Io | GND | Reg_Io |  | DATA 8 | GND | DATA 9 |  | Reg_Io | GND | Reg_Io |  | 34 |
| 35 |  | Reg_Io | GND | Reg_Io |  | DATA 10 | GND | DATA 11 |  | Reg_Io | GND | Reg_Io |  | 35 |
| 36 |  | Reg_Io | GND | Reg_Io |  | DATA 12 | GND | DATA 13 |  | Reg_Io | GND | Reg_Io |  | 36 |
| 37 |  | Reg_Io | GND | Reg_Io |  | DATA 14 | GND | DATA 15 |  | Reg_Io | GND | VSel0 |  | 37 |
| 38 |  | Reg_Io | GND | Reg_Io |  | EVT_IN0 | GND | EVT_IN1 |  | VSel1 | GND | VSel2 |  | 38 |
| 39 |  | Reg_Io | GND | Reg_Io |  | EVT_IN2 | GND | EVT_IN3 |  | VSel3 | GND | VEnable |  | 39 |
| 40 |  | Reg_Io | GND | Reg_Io |  | DataReady | GND | Dtack |  | Reg_Io | GND | Reg_Io |  | 40 |
| 41 |  | Reg_Io | GND | Reg_Io |  | READ 2 | GND | READ 3 |  | Reg_Io | GND | Reg_Io |  | 41 |
| 42 |  | Reg_Io | GND | Reg_Io |  | READ 4 | GND | READ 5 |  | Reg_Io | GND | Reg_Io |  | 42 |
| 43 |  | Reg_Io | GND | Reg_Io |  | Read 6_buf | GND | Renin |  | Reg_Io | GND | Reg_Io |  | 43 |
| 44 |  | Reg_Io | GND | Reg_Io |  | READ 8 | GND | LPass |  | Reg_Io | GND | Reg_Io |  | 44 |
| 45 |  | Reg_Io | GND | ADD1 |  | GlobalReset | GND | R/W_buf |  | Reg_Io | GND | VStrobe |  | 45 |
| 46 |  | ADD2 | GND | ADD3 |  | Valack | GND | StartReadout |  | Reg_Io | GND | Reg_Io |  | 46 |
| 47 |  | ADD4 | GND | ADD5 |  | LTReset | GND | Coding |  | LBUSA31 | GND | LBUSC31 |  | 47 |
| 48 |  | ADD6 | GND | ADD7 |  | READ 16 | GND | READ 17 |  | LBUSA30 | GND | LBUSC30 |  | 48 |
| 49 |  | +5 V | GND | +5 V |  | +5 V | GND | +5 V |  | +5 V | GND | +5 V |  | 49 |
| 50 |  | +5 V | +5 V | +5 V |  | +5 V | +5 V | +5 V |  | +5 V | +5 V | +5 V |  | 50 |
| 51 |  | -2 V | GND | -2 V |  | +12 V | GND | +12 V |  | +24 V | GND | +24 V |  | 51 |
| 52 |  | -2 V | -2 V | -2 V |  | +12 V | +12 V | +12 V |  | +24 V | +24 V | +24 V |  | 52 |
| 53 |  | -2 V | -2 V | -2 V |  | +12 V | +12 V | +12 V |  | +24 V | +24 V | +24 V |  | 53 |
| 54 |  | -2 V | GND | -2 V |  | -12 V | GND | -12 V |  | -24 V | GND | -24 V |  | 54 |
| 55 |  | -2 V | -2 V | -2 V |  | -12 V | -12 V | -12 V |  | -24 V | -24 V | -24 V |  | 55 |
| 56 |  | -2 V | -2 V | -2 V |  | -12 V | -12 V | -12 V |  | -24 V | -24 V | -24 V |  | 56 |

# 2	Memory Map of the G.I.R. for the FVI Card

2.1	VXI Configuration Registers: ( Inside the G.I.R.)

The VXI base address is calculated as follow : 0xFFFFFF80 - (n * 0x40)  where n is the number of cards between the Resource Manager and the Target card (n = 0 to 11).

| VXI Base Address first card | Description | DATA Format |
| --- | --- | --- |
| 0xFFFFFF80 | In Read Mode this is the Man. ID. Device Class and Address Space | d15, d14 = 0x3, d13, d12=01(A16/A32) or 00 (A16/A24), d11, d8 =1111for IN2P3 d7,d0=Pr (0x5A) for IN2P3 from PROM |
| 0xFFFFFF80 | In Write mode the R.M. Writes the Logic Address of the VXI card in A13,A6 | D7 to D0 is the logical Address |
| 0xFFFFFF82 | Read Only Register for the Device type and the model code | d15,d12 = 0x 7 (A24) or 0xf (A32) d11,d8=model code d7 to d0 from PROM |
| 0xFFFFFF84 | In Read mode: Status Register | d15 to d0 |
| 0xFFFFFF84 | Write mode: Control Register | d15 to d0 |
| 0xFFFFFF86 | Read/Write Offset Register | d15,d8 for A24, d15,d0 for A32 |
| 0xFFFFFF88 | Read Only: Serial no. | Read 8 bits only from PROM d7 to d0 |
| 0xFFFFFF8a | Read Only: Modification Level | Read 8 bits only from PROM d7 to d0 |

2.2 	Channel Area Addresses

| Channel 1 (0x10000 --0x1FFFE) | Bus Width | Read/ Write | Function |
| --- | --- | --- | --- |
| 0x10000 to 0x17FFE | 16 | r/w | LookUp Table for Channel 1 (32 Kwords) |
| 0x18000 | 16 | r/w | Request 1 Timeout Register |
| 0x18002 | 16 | r/w | Ren1 Delay Register |
| 0x18004 | 16 | r/w | Gate 1 Delay register |
| 0x18006 | 16 | r/w | Gate 1 Width register |
| 0x18008 | 16 | r/w | Fera Channel 1 Control Register |
| 0x1800C | 32 | r/w | Fera Channel 1 Fifo Test Acess |
| Channel 2 (0x20000 --0x2FFFE) | Bus Width | Read/ Write | Function |
| 0x20000 to 0x27FFE | 16 | r/w | LookUp Table for Channel 2 (32 Kwords) |
| 0x28000 | 16 | r/w | Request 2 Timeout Register |
| 0x28002 | 16 | r/w | Ren 2 Delay Register |
| 0x28004 | 16 | r/w | Gate 2 Delay register |
| 0x28006 | 16 | r/w | Gate 2 Width register |
| 0x28008 | 16 | r/w | Fera Channel 2 Control Register |
| 0x2800C | 32 | r/w | Fera Channel 2 Fifo Test Acess |

2.3 	Common Area Addresses

2.3.2 	Common Registers:

| Global Addresses | Bus Width | Read/ Write | Function |
| --- | --- | --- | --- |
| 0x0 | xx | w only | Simulate 250 ns FT Pulse |
| 0x2 | xx | w only | Simulate 250 ns Validation Pulse |
| 0x4 | xx | w only | Simulate 250 ns Trig Pulse |
| 0x6 | xx | w only | Generate 250 ns Clear FT Counter |
| 0x8 | xx | w only | Generate 250 ns Clear Validation Counter |
| 0xA | xx | w only | Generate 250 ns Clear Trig Counter |
| 0x10 | 16 | r/w | Module Control Register (MCR) |
| 0x12 | 16 | Read Only | Status Register (FVI STAT) |
| 0x20 | 16 | r/w | Digital Inspection 1 channel select |
| 0x22 | 16 | r/w | Digital Inspection 1 parameter Select |
| 0x24 | 16 | r/w | Digital Inspection 2 channel select |
| 0x26 | 16 | r/w | Digital Inspection 2 parameter Select |
| 0x30 | 16 | r/w | Voltage Inspection channel select |
| 0x32 | 16 | r/w | Voltage Inspection parameter Select |
| 0x40--0x5E | 16 | r/w | FVI Card Configuration Registers (XCProm) |
| 0x60 | 16 | r/w | FT Timeout Register |
| 0x62 | 16 | r/w | FT Delay Register |
| 0x64 | 32 | r/w | FT Counter Register |
| 0x68 | 16 | r/w | FT Width Register |
| 0x6A | 16 | r/w | Validation Timeout Register |
| 0x6C | 16 | r/w | Validation Delay Register |
| 0x6E | 16 | r/w | Validation Width Register |
| 0x70 | 32 | r/w | Validation Counter Register |
| 0x74 | 32 | r/w | Ancillary Trigger Counter Register |
| 0x78 | 16 | r/w | VSN Select 1 Register |
| 0x7A | 16 | r/w | VSN Select 2 Register |
| 0x7C | 16 | r/w | VSN Select 3 Register |
| 0x7E | 16 | r/w | VSN Select 4 Register |
| 0xA0--0xBE | 16/32 | r/w | G.I.R. Readout Memory Map |

2.3.2.1 	Module Control Register: VME base Address :  0x10 (read/ write)

| Bit Number | Meaning when = 0 | Meaning when = 1 |
| --- | --- | --- |
| 0 | Test Register Inactif | Test Register Actif |
| 1 | ET 0 Register Disabled | ET 0 Register Enabled |
| 2 | ET 1 Register Disabled | ET 1 Register Enabled |
| 3 | Reject Register Disabled | Reject Register Enabled |
| 4 | FVI Card PROM Write Disable | FVI Card PROM Write Enable |
| 5 | REQ1 Register Disabled | REQ1 Register Enabled |
| 6 | REQ2 Register Disabled | REQ2 Register Enabled |
| 7 | CDT Register Disabled | CDT Register Enabled |
| 8 | Reset FIFO Disable | FIFO Reset |
| 9 | Reset G.I.R. FIFO Disable | G.I.R. FIFO Reset |
| 10 | Reset G.I.R. Disable | G.I.R. Reset |
| 11 | Not Last Card | Last Card (use terminators) |
| 12 | not yet defined | not yet defined |
| 13 | not yet defined | not yet defined |
| 14 | not yet defined | not yet defined |
| 15 | not yet defined | not yet defined |

2.3.2.2 	FVI Status Register: VME base Address :  0x12 (read only)

| Bit Number | Meaning when = 0 | Meaning when = 1 |
| --- | --- | --- |
| 0 | Test Register Inactif | Test Register Actif |
| 1 | Empty Flag FIFO1 Disabled | Empty Flag FIFO1 Enabled |
| 2 | Empty Flag FIFO2 Disabled | Empty Flag FIFO2 Enabled |
| 3 | Half Full Flag FIFO1 Disabled | Half Full Flag FIFO1 Enabled |
| 4 | Half Full Flag FIFO2 Disabled | Half Full Flag FIFO2 Enabled |
| 5 | Full Flag FIFO1 Disabled | Full Flag FIFO1 Enabled |
| 6 | Full Flag FIFO2 Disabled | Full Flag FIFO2 Enabled |
| 7 | Inhibit FVI Register Enabled (resetted when read) | Inhibit FVI Register Disabled |
| 8 | Reject Register Enabled(resetted when read) | Reject Register Disabled |
| 9 to 15 | Not Used | Not Used |

2.3.2.3 	Digital inspection lines:

Digital Inspection line 1 : VME base Address : 0x20 (channel Select), and 0x22 (parameter Select)

To Disable the Digital inspection Line 1 write 0x00 at address 0x22. DigselA[3..0]

Digital Inspection line 2 : VME base Address : 0x24 (channel Select), and 0x26 (parameter Select).

To Disable the Digital inspection Line 2 write 0x00 at address 0x26. DigselB[3..0]

| parameters Line1 = DigselA[3..0] Line2 = DigselB[3..0] | GIR Control Lines to Analogue Card DigselA[3..0] DigselB[3..0] | Data Value for channel Address | Data Value for Parameter Address |
| --- | --- | --- | --- |
| DISABLED | 0000 | 0x0 | xxxx |
| WST 1 | 0000 | 0x 1 | 0x 0 |
| REN 1 | 0001 | 0x 1 | 0x 1 |
| GATE 2 | 0010 | 0x 1 | 0x 2 |
| WST 2 | 0011 | 0x 1 | 0x 3 |
| REN 2 | 0100 | 0x 1 | 0x 4 |
| GATE 1 | 0101 | 0x 1 | 0x 5 |
| RESET | 0110 | 0x 1 | 0x 6 |
| Inhibit | 0111 | 0x 1 | 0x 7 |
| Reject | 1000 | 0x 1 | 0x 8 |
| Trigger | 1001 | 0x 1 | 0x9 |
| REQ1 | 1010 | 0x 1 | 0xA |
| REQ2 | 1011 | 0x 1 | 0xB |
| WST 1 | 1100 | 0x 1 | 0xC |
| READFIFO1 | 1101 | 0x1 | 0xD |
| READFIFO2 | 1110 | 0x1 | 0xE |
| G.I.R. Parameters | GIR Control Lines | Data Value for channel Address | Data Value for Parameter Address |
| Fast_Trigger | 0x001 | 0x 20 | 0x001 |
| Inhibit | 0x002 | 0x 20 | 0x002 |
| Validation | 0x003 | 0x 20 | 0x003 |
| Veto | 0x004 | 0x 20 | 0x004 |
| FVI Valack | 0x005 | 0x 20 | 0x005 |
| En_Int_Readout_TEST | 0x006 | 0x 20 | 0x006 |
| StartReadout | 0x007 | 0x 20 | 0x007 |
| Renin (SAROC) | 0x008 | 0x 20 | 0x008 |
| SAROCDTready0 | 0x009 | 0x 20 | 0x009 |
|  | 0x00A | 0x 20 | 0x00A |
|  | 0x00B | 0x 20 | 0x00B |
|  | 0x00C | 0x 20 | 0x00C |
| SAROCDTack_buf | 0x00D | 0x 20 | 0x00D |
|  | 0x00E | 0x 20 | 0x00E |
|  | 0x00F | 0x 20 | 0x00F |
|  | 0x010 | 0x 20 | 0x010 |
|  | 0x011 | 0x 20 | 0x011 |
| End Readout | 0x012 | 0x 20 | 0x012 |
| CSA *(FifoChipSelect_A) | 0x013 | 0x 20 | 0x013 |
| CLKA(FifoClock_A) | 0x014 | 0x 20 | 0x014 |
| ENA(Fifo Enable Port_A) | 0x015 | 0x 20 | 0x015 |
| AS* (VME) | 0x016 | 0x 20 | 0x016 |
| DS (DS0* and DS1*) (VME) | 0x017 | 0x 20 | 0x017 |
| R/W* (VME) | 0x018 | 0x 20 | 0x018 |
| ModRoco | 0x019 | 0x 20 | 0x019 |
| CardRenin *(From ROCO) | 0x01A | 0x 20 | 0x01A |
| BLTACK (Card) | 0x01B | 0x 20 | 0x01B |
| BLTACK (Bus) | 0x01C | 0x 20 | 0x01C |
| OE_Ident* | 0x01D | 0x 20 | 0x01D |
| CSB* (FifoChipSelect_B) | 0x01E | 0x 20 | 0x01E |
| CLKB (FifoClock_B) | 0x01F | 0x 20 | 0x01F |
| ENB (Fifo Enable Port_B) | 0x020 | 0x 20 | 0x020 |
| OR_fifo (EmptyFlag) | 0x021 | 0x 20 | 0x021 |
| FDTACK | 0x022 | 0x 20 | 0x022 |
| DTACK* (VME) | 0x023 | 0x 20 | 0x023 |
| CardRenout(Bus Renout) | 0x024 | 0x 20 | 0x024 |
| SysClk | 0x025 | 0x 20 | 0x025 |
| LT_Reset* | 0x026 | 0x 20 | 0x026 |
| Readout_Event_Match | 0x027 | 0x 20 | 0x027 |
| Reset_Fifo* | 0x028 | 0x 20 | 0x028 |
| Decode_Sel(CardChipSelect) | 0x029 | 0x 20 | 0x029 |
| Strobe_Dec2 | 0x02A | 0x 20 | 0x02A |
| Dclk | 0x02B | 0x 20 | 0x02B |
| DCS* | 0x02C | 0x 20 | 0x02C |
| DDin | 0x02D | 0x20 | 0x02D |
| Coding_Bus | 0x02E | 0x20 | 0x02E |
| Coding_GIR | 0x02F | 0x20 | 0x02F |
| Event Fault more than one | 0x030 | 0x20 | 0x030 |
| Readout Event Fault | 0x031 | 0x20 | 0x031 |
| Vme Address 1 | 0x032 | 0x20 | 0x032 |
| Vme Address 2 | 0x033 | 0x20 | 0x033 |
| Vme Address 3 | 0x034 | 0x20 | 0x034 |
| Vme Address 4 | 0x035 | 0x20 | 0x035 |
| Vme Address 5 | 0x036 | 0x20 | 0x036 |
| Not Used (DI Disable) | Disable | value not = 0x20 | xxxx |

2.3.2.4 	Voltage inspection line:

VME base Address : 0x30 (channel select), and 0x32 (parameter select).

To Disable the Voltage Inspection line : write 0x00 at address 0x32

| parameters | GIR Control Lines to Analogue Card Vsel[3..0] | GIR Control Lines to Analogue Card Venable | Data Value for channel Address | Data Value for Parameter Address |
| --- | --- | --- | --- | --- |
| VCC +5 Volts | 0000 | 01 | 0x1 | 0x0 |
| Gnd | 0001 | 01 | 0x1 | 0x 1 |
| VEE -5.2Volts | 0010 | 01 | 0x1 | 0x 2 |
| VBB -2 Volts | 0011 | 01 | 0x1 | 0x 3 |
|  |  | 01 | 0x1 | 0x 4 |
|  |  | 01 | 0x1 | 0x 5 |
|  |  | 01 | 0x1 | 0x 6 |
|  |  | 01 | 0x1 | 0x 7 |
|  |  | 01 | 0x1 | 0x 8 |

2.3.2.5 	FVI Configuration Registers (XC PROM): 8 bits(read only)

| VXI Base Address | Description |
| --- | --- |
| 0x40 | In Read Mode this is the Man. ID |
| 0x42 | CARD TYPE |
| 0x44 | Serial no. |
| 0x46 | Revision Level |
| 0x48 to 5E | SPARE |

2.3.2.6 	G.I.R. Readout Memory Map : VME base Address : 0xA0 to 0xBE.

| Base Addresses | Bus Width | Read/ Write | Function |
| --- | --- | --- | --- |
| 0xA0 | 16 | r/w | Event Counter Register |
| 0xA2 | 16 | r/w | Item + Group no. Register |
| 0xA0 | 32 | read only | Item + Group no. Register + Event Counter |
| 0xA4 | 32 | r/w | Fifo Test Enable |
| 0xA8 | 16 | r/w | G.I.R. Readout Control Register (RCR) |
| 0xAA | N.A. | r only w only | Start Readout out in test mode End Readout in test mode |
| 0xAC | 16 | r only | Readout, Temperature Status Register |
| 0xAE | 16 | r/w | Valack Timeout Register (multiple of 62.5 ns) (100 <t< 4 sec.) (active when bit2 of RCR is 1) e.g. to have 100 us timeout write the value 0x640 (1600). |
| 0xB0 | 32 | r only | Qstat1,Qstat0 counter (16 bit each). The Qstat1 counter is to count the number of event faults difference more than one. Qstat0 counter for the number of event faults |
| 0xB4 to 0xBE | N.A. | r/w | Not yet Implemented |

2.3.2.6.1 G.I.R. Readout Control Register (RCR) (not fixed):

VME base Address : 0xA8 to be upgraded

| Bit Number | Meaning when = 0 | Meaning when = 1 |
| --- | --- | --- |
| 0 | Run mode for SAROC readout | Test mode for SAROC readout |
| 1 | Run mode for External readout | Test mode for External readout |
| 2 | Disable Valack Timeout Reset | Enable Valack Timeout Reset |
| 3 | Enable Readout from G.I.R. | Disable Readout from G.I.R. (card is bypass) |
| 4 | Not yet defined | Not yet defined |
| 5 | no pipelining at all (dead until VXI Readout ends) | Pipeline Readout stage (dead until data are in FIFO) (N.A.Y.) |
| 6 | Event Number Readout off | Event Number Readout on |
| 7 | Common Deadtime Readout mode (Eurogam I & II) | Euroball Readout mode |
| 8 | DSP set to Slave Mode(N.A.Y.) | DSP set to Master Mode(N.A.Y.) |
| 9 | DSP Slave is not last Slave Card(N.A.Y.) | DSP Slave is the last Slave Card(N.A.Y.) |
| 10 | Contrôle des fenêtres off(N.A.Y.) | Contrôle des fenêtres on(N.A.Y.) |
| 11 | Use Event Number Q = 00 given by 0xa2 register | Use Event Number Q from G.I.R. (qstat1,qstat0) (see table below) |
| 12 | Not yet defined | Not yet defined |
| 13 | Not yet defined | Not yet defined |
| 14 | Not yet defined | Not yet defined |
| 15 | Not yet defined | Not yet defined |

(N.A.Y.) (Not Available Yet )

2.3.2.6.1.1 G.I.R. Qstatus Table:

| Qstat1:Qstat0 | Meaning When Set |
| --- | --- |
| 00 | Trigger Broad cast nibble is equal to G.I.R. event counter Least Significant Nibble |
| 01 | The difference betwseen Trigger Broad cast nibble and the G.I.R. event counter is more than one |
| 10 | The difference betwseen Trigger Broad cast nibble and the G.I.R. event counter is one |

2.3.2.6.2 G.I.R. Readout Status Register (not fixed): VME base Address : 0xAC

| Bit Number | Meaning when = 0 | Meaning when = 1 |
| --- | --- | --- |
| 0 | G.I.R. Temperature indicator is above the upper threshold | G.I.R. Temperature indicator is below the upper threshold |
| 1 | G.I.R. Temperature indicator is below the lower threshold | G.I.R. Temperature indicator is above the lower threshold |
| 2 | Temperature indicator 1 is above the upper threshold | Temperature indicator 1 is below the upper threshold |
| 3 | Temperature indicator 1 is below the lower threshold | Temperature indicator 1 is above the lower threshold |
| 4 | Temperature indicator 2 is above the upper threshold | Temperature indicator 2 is below the upper threshold |
| 5 | Temperature indicator 2 is below the lower threshold | Temperature indicator 2 is above the lower threshold |
| 6 | Valack Timeout deasserted | Valack Timeout asserted |
| 8 | G.I.R. Empty Flag of Fifo1 asserted | G.I.R. Empty Flag for Fifo1 deasserted |
| 9 | G.I.R. Full Flag of Fifo1 asserted | G.I.R. Full Flag for Fifo1 deasserted |
| 10 | G.I.R. Empty Flag of Fifo2 asserted | G.I.R. Empty Flag for Fifo2 deasserted |
| 11 | G.I.R. Full Flag of Fifo2 asserted | G.I.R. Full Flag for Fifo2 deasserted |
| 12 | Global Saroc_Empty asserted | Global Saroc_Empty deasserted |
| 13 | Status: No fault | Status: fault 0 |
| 14 | Status: No fault | Status: fault 1 |
| 15 | Status: No fault | Status: fault 2 |

10.3. Dac connection figure Serial E²Prom, & Temperature Sensor Connection figure :