30 July 2026

# EUROBALL Project

# A.P. Description

# & Memory Map

# For

## General Interface Readout

## Master Trigger

Ver 0.1 (Draft version for Master Trigger Board)

By: N. Karkour, D. Linget (C.S.N.S.M. Orsay)

In collaboration with:

I. Lazarus, P.J. Coleman-Smith (CLRC Daresbury)

1.	 AP Description.  This paragragh details the signals of Table1.

· 1.1) AP1 :

- DCLK : Clock signal to load the DACs, this signal is common for all the DACs (see fig. Dacs connections).

- DDIN : serial data signal to load the DACs, this signal is common all the DACs (see fig. Dacs connections).

- DCSn : Chip Select signal to load the DACs, there is one signal per Dac, n = 1 to 7 (see fig. Dacs connections).

- SCR-signal : System Control Register, each signal enable or disable a function on the Master Trigger:

SCR-Clear	==> set/reset* the VXI Clear Line.

SCR-TSync	==> set/reset* the VXI Trigger Sync Pulse Line.

SCR-vxiGo	==> set/reset* the VXI Go/Stop Line.

SCR-CDT	==> en/dis* Deadtime or Parallel/Pipelined mode.

SCR-Complet	==> select Source for ‘Readout Complete’ in CDT mode. (0= Readout)

SCR-Scalers	==> en/dis* the VXI Transfer Scalers to shadow register.

- BCR1-signal:Board Control Register1, each signal enable or disable a function on the Master Trigger:

BCR1-enbSn	==> en/dis* Sumbus n (n = 1 to 4).

BCR1-rdoSn	==> en/dis* Sumbus n for Readout (n = 1 to 4).

BCR1-ftval	==> en/dis* Fast Trigger and Validation Pattern for Readout.

BCR1-fttac	==> en/dis* Fast Trigger TAC for Readout.

BCR1-evlsb	==> en/dis* Event Number LSB for Readout.

BCR1-evmsb	==> en/dis* Event Number MSB for Readout.

- CLKProm: Clock signal of the serial E²Prom X25C02 on the Master Trigger.

- DProm_Write:  Data write to the E²Prom X25C02 on the Master Trigger.

- CSProm : Chip Select signal of the serial E²Prom X25C02 on the Master Trigger.

- DProm_Read:  Data to be read out of the E²Prom X25C02 on the Master Trigger.

(see E²Prom connection figure).

- BCR2-signal:Board Control Register2, each signal enable or disable a function on the Master Trigger:

BCR2-sel[1..0]	==> select Validation Line

00 ==> not used,		01 ==> Validation 1.

10 ==> Validation 2,	11 ==> Validation 3.

BCR2-clrScal	==> Clear all Scalers on the card, n = Clear.

BCR2-LCA[2..0]==> FT/VAL LCA mode controls.

BCR2-clrfifo	==> Reset Triggers FIFOs, and States Machines.

Enable-TAC-ADC==> TAC-ADC enable

TAC-Start-Sel[1..0]==> Select Start TAC

TAC-Stop-Sel[1..0]==> Select Stop TAC

Tref enable	==> Enable Tref

Sum-Comp-Sel[1..0]==> Select Sumbus Comparator

- SBSR-signal : System/Board Status Register, each signal is a status of an action on the Analog part :

SBSR-vxiGo	==> status of the VXI Go/Stop Line.

SBSR-inh-req	==> status of the VXI Inhibit Request Line.

SBSR-inh-act	==> status of the VXI Inhibit Action Line.

SBSR-prog[4..1]==> status of the good programmation of the LCAs.

SBSR-prog 1 : Xilinx_Done

SBSR-prog2 : Rdo_Xil_Done

SBSR-prog3 : Scaler1_Prog_Done

SBSR-prog4 : Scaler2_Prog_Done

SBSR-fifo[1..0]	==> status of the ADC FIFO Flags.

SBSR-fifo0 : TT_Fifo_FF

SBSR-fifo1 : TT_fifo_EF

- SCR-signal : Scaler Control Register :

SCR-enbn	==> en/dis* Scaler Control n (n = 1 to 8).

- SSR-signal : Scaler Status Register :

SSR-ovfn	==> Status of Scaler Overflow n (n = 1 to 8).

- FT-VAL-sel : Chip select for the FT/VAL LCA register area (0x400 to 0x5FE).

- FTV-lca-din : Serialised data for the LCA. (register address 0x300)

- FTV-lca-clk : Clock for serial slave programming mode. (register address 0x300)

- ADD[7..1] : this is the lowest byte of the VME Address bus, it is enabled by the LCA DECOD1.

- Spare : these signals are not used in the Euroball Master Trigger card, they are controlled by the LCA DECOD1. They can be used for future upgrades.

- VPTAT1 : Voltage Proportional To Absolute Temperature signal of the sensor 1 from the Master Trigger and controlled by the DSP (via an ADC)(see fig. Sensors connections).

- OVER1 : high level temperature signal of the sensor 1 from the Master Trigger.

- UNDER1 : low level temperature signal of the sensor 1 from the Master Trigger.

- LED Temp: display signal of a LED indicator driven by an open collector from G.I.R. to the front panel  for the temperature Alarm. Color : RED. (Led connection figure will be added!).

· 1.2) AP2 :

- BCR2_LCA_Spare : spare signal for the loading of the FTV LCA.

- WP_Prom: en/dis*Enable or disable the protection on the Identification serial prom.

- 16 MHz: buffered VME System Clock signal.

- ADD8 : bit 8 of the VME Address bus, it is enabled by the LCA DECOD1.

- AIn : Analogue Inspection Lines, n is the inspection line indicator.

- DIn : Digital Inspection Lines ( must not be charge because they are driven 50Ω to -2V on thr GIR), n is the inspection line indicator. If the lignes are inactive, the level MUST BE 0 logic ECL.

- VI : Voltage Inspection Line.

- DATA[15..0] : these are the lower sixteen bits of the GIR Data bus.

- RDO-EVTIN[3..0] : these lines are the current event number, they are sent by the MASTER Trigger via the VXI Local bus to the Analog cards (LBus [11..8]).

- RDO-Dtready : data ready given by the MASTER Trigger Readout Interface when a data is ready to be latched in the FIFO.

- RDO-DTack : buffered data acknowledge signal for each data word of the MASTER Trigger Readout Interface during a Readout cycle.

- RDO-Renin : start Readout cycle of the MASTER Trigger Readout Interface.

- RDO-LPASS : Last PASS, done signal of the MASTER Trigger Readout Interface at the end of the internal Readout cycle.

- GLOBAL RESET : buffered global Reset signal of all the Master Trigger.

- R/W_buf : buffered VME read-write signal.

-StartReadout : the rising edge of this signal starts the internal Readout cycle.

- LT_Reset : buffered Reset signal witch tells the Master Trigger that readout is finished.

- Clk25MHz

- Read Spare : these signals are dedicated for Readout interface and are not used in the Euroball MASTER Trigger card, they are controlled by the LCA READOUT. They can be defined for future applications.

- Spare : these signals are not used in the Euroball MASTER Trigger card, they are controlled by the LCA DECODE2. They can be defined for future applications.

- VPTAT2 : Voltage Proportional To Absolute Temperature signal of the sensor 2 from the Analog part and controlled by the DSP (via an ADC)(see fig. Sensors connections).

- OVER2 : high level temperature signal of the sensor 2 from the Master Trigger.

- UNDER2 : low level temperature signal of the sensor 2 from the Master Trigger.

- FIFO-ERROR : display signal of a LED indicator driven by an open collector from G.I.R. to the front panel  It indicates the FIFO Event Error. Color : RED. (Led connection figure will be added!).

· 1.3) AP3 :

- DATA[31..16] : these are the sixteen higher bits of the GIR Data bus.

- RDO-evtout[3..0] : these lines are the event number that are sent with the data during acquisition mode, and are written in the FIFO.

- DSPFLAG1, 2, 3 : not used by the Master Trigger

- DONE-LED : display signal of a LED indicator driven by an open collector from G.I.R. to the front panel  This signal indicates that the G.I.R. LCAs are fully programmed, or Done LCAs is all High. Color: GREEN (Led connection figure will be added!).

- Read Spare : these signals are dedicated for Readout interface and are not used in the Euroball Master Trigger card, they are controlled by the LCA READOUT. They can be defined for future applications.

- Val_buf : buffered Validation signal from the MASTER Trigger (on the VXI back plane).

All the signals below are controlled by the LCA DECODE2.

- RGI-select : Chip select for the RGI register, which is latched with the STROBE-reg.

- RGI-Read : enable RGI datas on the bus.

- SCALER-sel : select the Scaler address range, which is latched with the STROBE-reg.

- SCALER-en : enable the Scaler datas on the bus.

- DigOeA : enable signal of the digital multiplexers for the Digital Inspection Line 1.

- DigOeB : enable signal of the digital multiplexers for the Digital Inspection Line 2.

- DigStrobe1 : Latch the data of the digital multiplexers for the digital inspection line 1.

- DigStrobe 2 : Latch the data of the digital multiplexers for the digital inspection line 2.

- AnaSelAn : select signal of the Analog multiplexers for the Analog Inspection Line 1, n is the 		multiplexer select bit. n=0,1,2.

- AnaSelBn : select signal of the Analog multiplexers for the Analog Inspection Line 2, n is the  multiplexer select bit. n=0,1,2.

- AnEnA : enable signal of the Analog multiplexers for the Analog Inspection Line 1.

- AnEnB : enable signal of the Analog multiplexers for the Analog Inspection Line 2.

- Anastrobe: load signal of all the Analog multiplexers.

- VSel[3..0] : select bus of the voltage multiplexers. These signals must be common to all voltage 	multiplexers.

- Venablen : enable signal of the voltage multiplexers.n=1,2,3.

- Vstrobe: load signal of all the voltage multiplexers.

- STROBE-reg: Data Strobe signal for the Master Trigger card  registers.

- XilinxSel : Selects between 63 direct signals and Xilinx signals.

- FTV_Xilinx_Init : Status of Init Signal for the FTV Xilinx LCA.

- RDO_Xilinx_Init :  Status of Init Signal for the RDO Xilinx LCA.

Pinouts of the AP Connector  for the Master Trigger Card: (Table 1):

|  | AP1 Connector |  |  |  |  | AP2 Connector |  |  | AP3 Connector |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| PIN NO. |  | ROW A | ROW B | ROW C | ROW A |  | ROW B | ROW C |  | ROW A | ROW B | ROW C |  | PIN NO. |
| 1 |  | +5 V | VPTAT1 | +5 V | +5 V |  | VPTAT2 | +5 V |  | +5v | FreeFLAG1 | +5v |  | 1 |
| 2 |  | +5 V | +5 V | +5 V | +5 V |  | +5v | +5 V |  | +5v | +5v | +5v |  | 2 |
| 3 |  | DCLK | OVER1 | DDIN | Spare |  | OVER2 | BCR2-LCA-Spare |  | DATA 16 | Free FLAG2 | DATA 17 |  | 3 |
| 4 |  | DCS 1 | UNDER1 | DCS 2 | Spare |  | UNDER2 | Spare |  | DATA 18 | Free FLAG3 | DATA 19 |  | 4 |
| 5 |  | DCS 3 | LED Temp | DCS 4 | WP-PROM |  | FIFO-ERROR | Spare |  | DATA 20 | DONE-LED | DATA 21 |  | 5 |
| 6 |  | DCS 5 | GND | DCS 6 | 16 Mhz |  | GND | Spare |  | DATA 22 | GND | DATA 23 |  | 6 |
| 7 |  | DCS 7 | GND | SCR-Clear | GND |  | GND | Spare |  | GND | GND | GND |  | 7 |
| 8 |  | SCR-TSync | GND | SCR-vxiGo | ADD 8 |  | GND | Spare |  | DATA 24 | GND | DATA 25 |  | 8 |
| 9 |  | SCR-CDT | GND | SCR-Complet | Spare |  | GND | Spare |  | DATA 26 | GND | DATA 27 |  | 9 |
| 10 |  | SCR-Scalers | GND | BCR1-enbS1 | Spare |  | GND | Spare |  | DATA 28 | GND | DATA 29 |  | 10 |
| 11 |  | BCR1-enbS2 | GND | BCR1-enbS3 | Spare |  | GND | Spare |  | DATA 30 | GND | DATA 31 |  | 11 |
| 12 |  | BCR1-enbS4 | GND | BCR1-rdoS1 | Spare |  | GND | Spare |  | GND | GND | GND |  | 12 |
| 13 |  | BCR1-rdoS2 | GND | BCR1-rdoS3 | Spare |  | GND | Spare |  | RDO-evtout0 | GND | RDO-evtout1 |  | 13 |
| 14 |  | BCR1-rdoS4 | GND | BCR1-ftval | Spare |  | GND | Spare |  | RDO-evtout2 | GND | RDO-evtout3 |  | 14 |
| 15 |  | BCR1-fttac | GND | BCR1-evlsb | Spare |  | GND | Spare |  | Read Spare | GND | Read Spare |  | 15 |
| 16 |  | -5.2 V | GND | -5.2 V | -5.2 V |  | GND | -5.2 V |  | -5.2 V | GND | -5.2 V |  | 16 |
| 17 |  | -5.2 V | -5.2 V | -5.2 V | -5.2 V |  | -5.2 V | -5.2 V |  | -5.2 V | -5.2 V | -5.2 V |  | 17 |
| 18 |  | BCR1-evmsb | GND | Clk Prom | Spare |  | GND | Spare |  | Spare | GND | LC 2 |  | 18 |
| 19 |  | DProm_Write | GND | CS Prom | Spare |  | GND | Spare |  | Spare | GND | Read Spare |  | 19 |
| 20 |  | DProm_Read | GND | BCR2-sel0 | AI 1 |  | GND | GND |  | GND | GND | Spare |  | 20 |
| 21 |  | BCR2-sel1 | GND | BCR2-clrScal | GND |  | GND | GND |  | Spare | GND | Spare |  | 21 |
| 22 |  | BCR2-LCA0 | GND | BCR2-LCA1 | AI 2 |  | GND | GND |  | VAL_buf | GND | ft_VAL_sel |  | 22 |
| 23 |  | BCR2-LCA2 | GND | BCR2-clrfifo | GND |  | GND | DI 1 |  | RGI-select | GND | RGI-read |  | 23 |
| 24 |  | En-Tac-Adc | GND | Tac-Start-Sel0 | DI 2 |  | GND | GND |  | SCALER-sel | GND | SCALER-en |  | 24 |
| 25 |  | Tac-Start-Sel1 | GND | Tac-Stop-Sel0 | Spare |  | GND | VI |  | Spare | GND | Spare |  | 25 |
| 26 |  | Tac-Stop-Sel1 | GND | Tref-enable | Spare |  | GND | Spare |  | Spare | GND | Spare |  | 26 |
| 27 |  | -5.2 V | GND | -5.2 V | -5.2 V |  | GND | -5.2 V |  | -5.2 V | GND | -5.2 V |  | 27 |
| 28 |  | -5.2 V | -5.2 V | -5.2 V | -5.2 V |  | -5.2 V | -5.2 V |  | -5.2 V | -5.2 V | -5.2 V |  | 28 |
| 29 |  | Sum-comp-Sel0 | GND | Sum-comp-Sel1 | DATA 0 |  | GND | DATA 1 |  | DigOeA | GND | DigOeB |  | 29 |
| 30 |  | SBSR-vxiGo | GND | SBSR-inh-req | DATA 2 |  | GND | DATA 3 |  | DigStrobe 1 | GND | DigStrobe 2 |  | 30 |
| 31 |  | SBSR-inh-act | GND | SBSR-prog1 | DATA 4 |  | GND | DATA 5 |  | AnaSelA 0 | GND | AnaSelA 1 |  | 31 |
| 32 |  | SBSR-prog2 | GND | SBSR-prog3 | DATA 6 |  | GND | DATA 7 |  | AnaSelA 2 | GND | AnaSelB 0 |  | 32 |
| 33 |  | SBSR-prog4 | GND | SBSR-fifof0 | GND |  | GND | GND |  | AnaSelB 1 | GND | AnaSelB 2 |  | 33 |
| 34 |  | SBSR-fifofl1 | GND | SCR-enb1 | DATA 8 |  | GND | DATA 9 |  | AnaEnA | GND | AnaEnB |  | 34 |
| 35 |  | SCR-enb2 | GND | SCR-enb3 | DATA 10 |  | GND | DATA 11 |  | AnaStrobe | GND | VSel 0 |  | 35 |
| 36 |  | SCR-enb4 | GND | SCR-enb5 | DATA 12 |  | GND | DATA 13 |  | VSel 1 | GND | VSel 2 |  | 36 |
| 37 |  | SCR-enb6 | GND | SCR-enb7 | DATA 14 |  | GND | DATA 15 |  | Vsel 3 | GND | Venable 1 |  | 37 |
| 38 |  | SCR-enb8 | GND | SSR-ovf1 | RDO-EVTIN0 |  | GND | RDO-EVTIN1 |  | Venable 2 | GND | Venable 3 |  | 38 |
| 39 |  | SSR-ovf2 | GND | SSR-ovf3 | RDO-EVTIN2 |  | GND | RDO-EVTIN3 |  | VStrobe | GND | Spare |  | 39 |
| 40 |  | SSR-ovf4 | GND | SSR-ovf5 | RDO-Dtready |  | GND | Read Spare |  | Spare | GND | Spare |  | 40 |
| 41 |  | SSR-ovf6 | GND | SSR-ovf7 | Read Spare |  | GND | Read Spare |  | Strobe_Reg | GND | Spare |  | 41 |
| 42 |  | SSR-ovf8 | GND | FT-VAL-sel | Read Spare |  | GND | Read Spare |  | Spare | GND | Spare |  | 42 |
| 43 |  | Spare | GND | FTV-lca-din | RDO-Dtack |  | GND | RDO-Renin |  | Xilinxsel | GND | Spare |  | 43 |
| 44 |  | FTV-lca-clk | GND | Spare | Read Spare |  | GND | RDO-LPASS |  | FTV-Xilinx-Init | GND | Spare |  | 44 |
| 45 |  | Latch Card | GND | ADD 1 | GlobalReset |  | GND | R/W_buf |  | Rdo-Xilinx-Init | GND | Spare |  | 45 |
| 46 |  | ADD 2 | GND | ADD 3 | Spare |  | GND | StartReadout |  | Spare | GND | Spare |  | 46 |
| 47 |  | ADD 4 | GND | ADD 5 | LT_Reset |  | GND | Read Spare |  | Spare | GND | Spare |  | 47 |
| 48 |  | ADD 6 | GND | ADD 7 | Clk 25MHz |  | GND | Spare |  | Spare | GND | Spare |  | 48 |
| 49 |  | +5 V | GND | +5 V | +5 V |  | GND | +5 V |  | +5 V | GND | +5 V |  | 49 |
| 50 |  | +5 V | +5 V | +5 V | +5 V |  | +5 V | +5 V |  | +5 V | +5 V | +5 V |  | 50 |
| 51 |  | -2 V | GND | -2 V | +12 V |  | GND | +12 V |  | +24 V | GND | +24 V |  | 51 |
| 52 |  | -2 V | -2 V | -2 V | +12 V |  | +12 V | +12 V |  | +24 V | +24 V | +24 V |  | 52 |
| 53 |  | -2 V | -2 V | -2 V | +12 V |  | +12 V | +12 V |  | +24 V | +24 V | +24 V |  | 53 |
| 54 |  | -2 V | GND | -2 V | -12 V |  | GND | -12 V |  | -24 V | GND | -24 V |  | 54 |
| 55 |  | -2 V | -2 V | -2 V | -12 V |  | -12 V | -12 V |  | -24 V | -24 V | -24 V |  | 55 |
| 56 |  | -2 V | -2 V | -2 V | -12 V |  | -12 V | -12 V |  | -24 V | -24 V | -24 V |  | 56 |

# Signal Polarity:

This table describes the signal polarity between the G.I.R. and the Master Trigger:

Note that active high is +4volts, and Active low is 0 volts.

| SIGNAL NAME |  | Polarity |
| --- | --- | --- |
| RDO-Dtready |  | Active HIGH |
| RDO-Dtack |  | Active HIGH |
| GlobalReset |  | Active Low |
| VALACK |  | Active HIGH |
| LT_Reset |  | Active Low |
| RDO-Renin | Active HIGH |  |
| RDO-LPASS | Active HIGH |  |
| R/W_buf | Write low/ Read High |  |
| StartReadout | Active HIGH |  |
| Coding | comes from M.T. |  |
| RGI-select | Active HIGH |  |
| SCALER-sel | Active HIGH |  |
| RGI-read | Active HIGH |  |
| SCALER-en | Active HIGH |  |
| Strobe_Reg | Active HIGH |  |
| Xilinxsel | Active HIGH |  |

# 2.	Memory Map of the G.I.R. for the Master Trigger Card

2.1	VXI Configuration Registers: ( Inside the G.I.R.)

The VXI base address is calculated as follow : 0xFFFFFF80 - (n * 0x40)  where n is the number of cards between the Resource Manager and the Target card (n = 0 to 11). To Identify the Trigger card is 0x940 in the Device type register

| VXI Base Address (slot 1) | Description | DATA Format |
| --- | --- | --- |
| 0xFFFFFF80 | In Read Mode this is the Man. ID. Device Class and Address Space | d15, d14 = 0x3, d13, d12=01(A16/A32) or 00 (A16/A24), d11, d8 =1111for IN2P3 d7,d0=Pr (0x5A) for IN2P3 from PROM |
| 0xFFFFFF80 | In Write mode the R.M. Writes the Logic Address of the VXI card in A13,A6 | D7 to D0 is the logical Address |
| 0xFFFFFF82 | Read Only Register for the Device type and the model code | d15,d12 = 0x 7 (A24) or 0xf (A32) d11,d8=model code d7 to d0 from PROM (0x940 for M.T.) |
| 0xFFFFFF84 | In Read mode: Status Register | d15 to d0 |
| 0xFFFFFF84 | Write mode: Control Register | d15 to d0 |
| 0xFFFFFF86 | Read/Write Offset Register | d15,d8 for A24, d15,d0 for A32 |
| 0xFFFFFF88 | Read Only: Serial no. | Read 8 bits only from PROM d7 to d0 |
| 0xFFFFFF8a | Read Only: Modification Level | Read 8 bits only from PROM d7 to d0 |

2.2 	DAC Memory Map:

| Address Offset | Bus Width | Read/ Write | DAC Parameter Name |
| --- | --- | --- | --- |
| Select DAC 1 Parameters |  |  |  |
| 0x 100 | 16 | w | Sumbus 1: Multiplicity 1:Delay |
| 0x 102 | 16 | w | Sumbus 1: Multiplicity 1:Width |
| 0x 104 | 16 | w | Sumbus 1: Multiplicity 2:Delay |
| 0x 106 | 16 | w | Sumbus 1: Multiplicity 2:Width |
| 0x 108 | 16 | w | Sumbus 1: Multiplicity 3:Delay |
| 0x 10A | 16 | w | Sumbus 1: Multiplicity 3:Width |
| 0x 10C | 16 | w | Sumbus 1: Multiplicity 4:Delay |
| 0x 10E | 16 | w | Sumbus 1: Multiplicity 4:Width |
| Select DAC 2 Parameters |  |  |  |
| 0x 110 | 16 | w | Sumbus 2: Multiplicity 1:Delay |
| 0x 112 | 16 | w | Sumbus 2: Multiplicity 1:Width |
| 0x 114 | 16 | w | Sumbus 2: Multiplicity 2:Delay |
| 0x 116 | 16 | w | Sumbus 2: Multiplicity 2:Width |
| 0x 118 | 16 | w | Sumbus 2: Multiplicity 3:Delay |
| 0x 11A | 16 | w | Sumbus 2: Multiplicity 3:Width |
| 0x 11C | 16 | w | Sumbus 3: Multiplicity 1:Delay |
| 0x 11E | 16 | w | Sumbus 3: Multiplicity 1:Width |
| Select DAC 3 Parameters |  |  |  |
| 0x 120 | 16 | w | Sumbus 1: Multiplicity 1: Threshold |
| 0x 122 | 16 | w | Sumbus 1: Multiplicity 2: Threshold |
| 0x 124 | 16 | w | Sumbus 1: Multiplicity 3: Threshold |
| 0x 126 | 16 | w | Sumbus 1: Multiplicity 4: Threshold |
| 0x 128 | 16 | w | Sumbus 2: Multiplicity 1: Threshold |
| 0x 12A | 16 | w | Sumbus 2: Multiplicity 2: Threshold |
| 0x 12C | 16 | w | Sumbus 2: Multiplicity 3: Threshold |
| 0x 12E | 16 | w | Sumbus 3: Multiplicity 1: Threshold |
| Select DAC 4 Parameters |  |  |  |
| 0x 130 | 16 | w | Sumbus 3: Multiplicity 2: Threshold |
| 0x 132 | 16 | w | Sumbus 4: Multiplicity 1: Threshold |
| 0x 134 | 16 | w | not used |
| 0x 136 | 16 | w | not used |
| 0x 138 | 16 | w | Sumbus 3: Multiplicity 2:Delay |
| 0x 13A | 16 | w | Sumbus 3: Multiplicity 2: Width |
| 0x 13C | 16 | w | Sumbus 4: Multiplicity 1: Delay |
| 0x 13E | 16 | w | Sumbus 4: Multiplicity 1: Width |
| Select DAC 5 Parameters |  |  |  |
| 0x 140 -> 0x 14E ???? | 16 | w | Logic Input Reference Level |
| Select DAC 6 Parameters |  |  |  |
| 0x 150 | 16 | w | Logic Input 1: Delay |
| 0x 152 | 16 | w | Logic Input 1 : Width |
| 0x 154 | 16 | w | Logic Input 2: Delay |
| 0x 156 | 16 | w | Logic Input 2 : Width |
| 0x 158 | 16 | w | Logic Input 3: Delay |
| 0x 15A | 16 | w | Logic Input 3 : Width |
| 0x 15C | 16 | w | Logic Input 4: Delay |
| 0x 15E | 16 | w | Logic Input 4 : Width |
| Select DAC 7 Parameters |  |  |  |
| 0x 160 | 16 | w | Fast Trigger Output Pulse:Delay |
| 0x 162 | 16 | w | Fast Trigger Output Pulse:Width |
| 0x 164 | 16 | w | Fast Trigger to Validation Pulse : Delay |
| 0x 166 | 16 | w | Fast Trigger to Validation Pulse : Width |
| 0x 168 | 16 | w | Validation Output pulse: Delay |
| 0x 16A | 16 | w | Validation Output pulse : width |
| 0x 16C | 16 | w | Inhibit Output Pulse : Delay |
| 0x 16E | 16 | w | Inhibit Output Pulse : Width |

2.3 	Common Area Addresses

2.3.1 	Common Registers:

| Global Addresses | Bus Width | Read/ Write | Function |
| --- | --- | --- | --- |
| 0x 40 -> 0x 5E | 16 | r only | Board Identification Registers ( in DAC EEPROM ????????? ) |
| 0x 60 -> 0x 7E | 16 | r /w | DAC buffer EEPROM read and write defaults |
| 0x 80 -> 0x 9E | 16 | w only | DAC buffer volatile read/write |
| 0xA0--0xBE | 16/32 | r/w | G.I.R. Readout Memory Map |
| Master Trigger Register Area Address |  |  |  |
| 0x 200 | 16 | r/w | System Control Register |
| 0x 202 | 16 | r/w | Board Control Register 1 |
| 0x 204 | 16 | r/w | Board Control Register 2 |
| 0x 206 | 8 | r/w | Scaler Control register. |
| 0x 208 | 16 | r only | System/Board Status register |
| 0x 20A | 8 | r only | Scaler Status register |
| Inspection Lines Area Address |  |  |  |
| 0x 220 | 16 | r/w | Logic Inspection Line 1 Channel Select |
| 0x 222 | 16 | r/w | Logic Inspection Line1 Source Select |
| 0x 224 | 16 | r/w | Logic Inspection Line2 Channel Select |
| 0x 226 | 16 | r/w | Logic Inspection Line2 Source Select |
| 0x 228 | 16 | r/w | Analogue Inspection Line 1 Channel Select |
| 0x 22A | 16 | r/w | Analogue Inspection Line 1 Source Select |
| 0x 22C | 16 | r/w | Analogue Inspection Line 2 Channel Select |
| 0x 22E | 16 | r/w | Analogue Inspection Line 2 Source Select |
| 0x 230 | 16 | r/w | Voltage Inspection Line Channel Select |
| 0x 232 | 16 | r/w | Voltage Inspection Line Source Select |
| 0x 234 | 16 | r only | Status of Xilinx_Init Select |
| 0x 236 | 16 | r/w | Module Control Register (MCR) |
| 0x 300 | 16 | w only | FT/VAL programming register |
| RGI Area Address |  |  |  |
| 0x 320 | 16 | r/w | Sumbus1 Peak Value: Group and Item number |
| 0x 322 | 16 | r/w | Sumbus2 Peak Value: Group and Item number |
| 0x 324 | 16 | r/w | Sumbus3 Peak Value: Group and Item number |
| 0x 326 | 16 | r/w | Sumbus4 Peak Value: Group and Item number |
| 0x 328 | 16 | r/w | Trigger TAC ADC: Group and Item number |
| 0x 32A | 16 | r/w | FT/LCA Pattern: Group and Item number |
| 0x 32C | 16 | r/w | Event Number LSB: Group and Item number |
| 0x 32E | 16 | r/w | Event Number MSB: Group and Item number |
| 0x 400 -> 0x 600 | 16 | r/w | Fast Trigger/Validation LCA Area Address |
| 0x 1000->0x 101C | 32 | r/w | Scaler Register Area |

2.3.1.1 	Board Identification Register: VME base Address :  0x40 -> 0x5E

| Address Offset | Description | DATA Format |
| --- | --- | --- |
|  | In Read mode: Status Register OR In Read Mode this is the Man. ID | d15 to d0 OR D7..D0 from XCPROM Ö code CLRC |
|  | Write mode: Control Register | d15 to d0 |
|  | Read Only: Serial no. | Read 8 bits only from PROM d7 to d0 |
|  | Read Only: Modification Level | Read 8 bits only from PROM d7 to d0 |

2.3.1.2 	DAC Buffer EPROM: VME base Address :  0x60 -> 0x7E

| Base Addresses | Bus Width | Read/ Write | Function |
| --- | --- | --- | --- |
|  | 16 | r/w | Default DAC Buffer 1 values from XCProm |
|  | 16 | r/w | Default DAC Buffer 2 values from XCProm |
|  | 16 | r/w | Default DAC Buffer 3 values from XCProm |
|  | 16 | r/w | Default DAC Buffer 4 values from XCProm |
|  | 16 | r/w | Default DAC Buffer 5 values from XCProm |
|  | 16 | r/w | Default DAC Buffer 6 values from XCProm |
|  | 16 | r/w | Default DAC Buffer 7 values from XCProm |

2.3.1.3 	DAC Buffer volatile R-W: VME base Address :  0x80 -> 0x9E

| Base Addresses | Bus Width | Read/ Write | Function |
| --- | --- | --- | --- |
|  | 16 | write only | Change Default DAC Buffer 1 mode in XCProm |
|  | 16 | write only | Change Default DAC Buffer 2 mode in XCProm |
|  | 16 | write only | Change Default DAC Buffer 3 mode in XCProm |
|  | 16 | write only | Change Default DAC Buffer 4 mode in XCProm |
|  | 16 | write only | Change Default DAC Buffer 5 mode in XCProm |
|  | 16 | write only | Change Default DAC Buffer 6 mode in XCProm |
|  | 16 | write only | Change Default DAC Buffer 7 mode in XCProm |

2.3.1.4 	System Control Register: VME base Address :  0x200

| Bit Number | Meaning when = 0 | Meaning when = 1 |
| --- | --- | --- |
| 0 | Level of VXI Clear line | Level of VXI Clear line |
| 1 | Level of VXI Trigger Sync Pulse line | Level of VXI Trigger Sync Pulse line |
| 2 | Level of VXI Go/Stop line. ( Stop ) | Level of VXI Go/Stop line. ( Go ) |
| 3 | Common Deadtime | Parallel/Pipelined mode |
| 4 | Select for ‘Readout Complete’ in CDT mode. ( Readout ) | Select Source for ‘Readout Complete’ in CDT mode. ( ??????? ) |
| 5 | Level of VXI Transfer Scalers to shadow register | Level of VXI Transfer Scalers to shadow register |
|  | Not Allocated | Not Allocated |

2.3.1.5 	Board Control Register 1: VME base Address :  0x202

| Bit Number | Meaning when = 0 | Meaning when = 1 |
| --- | --- | --- |
| 0 | Disable Sumbus 1. | Enable Sumbus 1. |
| 1 | Disable Sumbus 2 | Enable Sumbus 2 |
| 2 | Disable Sumbus 3. | Enable Sumbus 3. |
| 3 | Disable Sumbus 4. | Enable Sumbus 4 |
| 4 | Disable Sumbus 1 for readout | Enable Sumbus 1 for readout. |
| 5 | Disable Sumbus 2 for readout. | Enable Sumbus 2 for readout. |
| 6 | Disable Sumbus3 for readout | Enable Sumbus 3 for readout. |
| 7 | Disable Sumbus 4 for readout. | Enable Sumbus 4 for readout. |
| 8 | Disable Fast Trigger and Validation Pattern for readout. | Enable Fast Trigger and Validation Pattern for readout. |
| 9 | Disable Fast Trigger TAC for readout. | Enable Fast Trigger TAC for readout. |
| 10 | Disable Event Number LSB for readout. | Enable Event Number LSB for readout. |
| 11 | Disable Event Number MSB for readout. | Enable Event Number MSB for readout. |
| ?? -> ?? | Not Allocated | Not Allocated |

2.3.1.6 	Board Control Register 2: VME base Address :  0x204

| Bit Number | Meaning when = 0 | Meaning when = 1 |
| --- | --- | --- |
| 0..1 | Select Validation Line. 0 = not used | 1 = Validation 1, 2 = Validation 2, 3 = Validation 3. |
| 2 | Don’t Clear all scalers on the card. | Clear all scalers on the card. |
| 5...3 | FT/VAL LCA mode controls. | FT/VAL LCA mode controls. |
| 6 | Don’t Reset Trigger FIFOs , and State Machines. | Reset Trigger FIFOs , and State Machines. |
| 7 | Disable TAC ADC | Enable TAC ADC |
| 8 | Disable TAC Start Select 0 | Enable TAC Start Select 0 |
| 9 | Disable TAC Start Select 1 | Enable TAC Start Select 1 |
| 10 | Disable TAC Stop Select 0 | Enable TAC Stop Select 0 |
| 11 | Disable TAC Stop Select 1 | Enable TAC Stop Select 1 |
| 12 | Disable Tref | Enable Tref |
| 13 | Disable Sumbus Comparator 0 | Enable Sumbus Comparator 0 |
| 14 | Disable Sumbus Comparator 1 | Enable Sumbus Comparator 1 |
| 15 | BCR2_LCA_Spare | BCR2_LCA_Spare |

2.3.1.7 	Scaler Control Register : VME base Address :  0x206

| Bit Number | Meaning when = 0 | Meaning when = 1 |
| --- | --- | --- |
| 7:0 | Scaler Disable control | Scaler Enable control |

2.3.1.8 	System/Board Status Register : VME base Address :  0x208

| Bit Number | Meaning when = 0 | Meaning when = 1 |
| --- | --- | --- |
| 0 | VXI Stop signal | VXI Go signal |
| 1 | Level of VXI Inhibit Request signal | Level of VXI Inhibit Request signal |
| 2 | Level of VXI Inhibit Action signal | Level of VXI Inhibit Action signal |
| 3 | LCAs programmed 1 | LCAs programmed 1 |
| 4 | LCAs programmed 2 | LCAs programmed 2 |
| 5 | LCAs programmed 3 | LCAs programmed 3 |
| 6 | LCAs programmed 4 | LCAs programmed 4 |
| 7 | ADC FIFO Flags status | ADC FIFO Flags status |
| 8 | ADC FIFO Flags status | ADC FIFO Flags status |
|  | Not Allocated | Not Allocated |

2.3.1.9 	Scaler Status Register : VME base Address :  0x20A

| Bit Number | Meaning when = 0 | Meaning when = 1 |
| --- | --- | --- |
| 7:0 | Scaler Normal | Scaler Overflow |

2.3.2 	Inspection Lines:

2.3.2.1 	Digital inspection lines:

Digital Inspection line 1 : VME base Address : 0x220 (channel Select), and 0x222 (Source Select)

To Disable the Digital inspection Line 1 write 0x00 at address 0x220.

Digital Inspection line 2 : VME base Address : 0x224 (channel Select), and 0x226(parameter Select).

To Disable the Digital inspection Line 2 write 0x00 at address 0x224.

| parameters Line1 = Line2 = | Xilinx SEl | Data5 | GIR Control Lines to Analogue Card DIGOEA DIGOEB | Data Value for Channel Address | Data Value for Source Address [5:0] |
| --- | --- | --- | --- | --- | --- |
| Disable | 0 | x | 0x0 | 0x00 | xx |
| Enable Master Trigger Direct Lines | 0 | x | 0x1 | 0x1 | 0x1 to 0x3F |
| Enable FTV_LCA Signals | 1 | 0 | 0x1 | 0x1 | 0x40 to 0x5F |
| Enable RDO_LCA Signals | 1 | 1 | 0x1 | 0x1 | 0x60 to 0x7F |

| G.I.R. Global Parameters | GIR Control Lines | channel Data Value |  | Parameter Data Value |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Disable |  | 0x20 |  | 0x000 |  |  |
| Fast_Trigger | 0x001 | 0x20 |  | 0x001 |  |  |
| Inhibit_buf (M.T.) | 0x002 | 0x20 |  | 0x002 |  |  |
| Validation | 0x003 | 0x20 |  | 0x003 |  |  |
| Spare | 0x004 | 0x20 |  | 0x004 |  |  |
| Valack | 0x005 | 0x20 |  | 0x005 |  |  |
| enable address 0xAA with bit 0 of RCR =1 a write = LastPass read=Renin | 0x006 | 0x20 |  | 0x006 |  |  |
| Readout Signals between G.I.R. & M.T. |  |  |  |  |  |  |
| StartReadout | 0x007 | 0x20 |  | 0x007 |  |  |
| Renin | 0x008 | 0x20 |  | 0x008 |  |  |
| DTready | 0x009 | 0x20 |  | 0x009 |  |  |
| Spare | 0x00A | 0x20 |  | 0x00A |  |  |
| Spare | 0x00B | 0x20 |  | 0x00B |  |  |
| Spare | 0x00C | 0x20 |  | 0x00C |  |  |
| SIROPDTack_buf | 0x00D | 0x20 |  | 0x00D |  |  |
| Spare | 0x00E | 0x20 |  | 0x00E |  |  |
| Spare | 0x00F | 0x20 |  | 0x00F |  |  |
| Spare | 0x010 | 0x20 |  | 0x010 |  |  |
| Spare | 0x011 | 0x20 |  | 0x011 |  |  |
| SIROPLPASS | 0x012 | 0x20 |  | 0x012 |  |  |
| G.I.R. FIFO Signals When data are written in |  |  |  |  |  |  |
| CSA *(FifoChipSelect_A) | 0x013 | 0x20 |  | 0x013 |  |  |
| CLKA(FifoClock_A) | 0x014 | 0x20 |  | 0x014 |  |  |
| ENA(Fifo Enable Port_A) | 0x015 | 0x20 |  | 0x015 |  |  |
| Readout Signals between G.I.R. &Readout Controller |  |  |  |  |  |  |
| AS* (VME) | 0x016 | 0x20 |  | 0x016 |  |  |
| DS (DS0* and DS1*) (VME) | 0x017 | 0x20 |  | 0x017 |  |  |
| R/W* (VME) | 0x018 | 0x20 |  | 0x018 |  |  |
| ModRoco | 0x019 | 0x20 |  | 0x019 |  |  |
| CardRenin *(From ROCO) | 0x01A | 0x20 |  | 0x01A |  |  |
| BLTACK (Card) | 0x01B | 0x20 |  | 0x01B |  |  |
| BLTACK (Bus) | 0x01C | 0x20 |  | 0x01C |  |  |
| OE_Ident* | 0x01D | 0x20 | 0x01D |  | Address 0xA0 readout ( 32 bits). |  |
| G.I.R. FIFO Signals When data are read out |  |  |  |  |  |  |
| CSB* (FifoChipSelect_B) | 0x01E | 0x20 |  | 0x01E |  |  |
| CLKB (FifoClock_B) | 0x01F | 0x20 |  | 0x01F |  |  |
| ENB (Fifo Enable Port_B) | 0x020 | 0x20 |  | 0x020 |  |  |
| OR_fifo (EmptyFlag) | 0x021 | 0x20 |  | 0x021 |  |  |
| FDTACK (G.I.R. Readout LCA Dtack) | 0x022 | 0x20 |  | 0x022 |  |  |
| DTACK* (VME) | 0x023 | 0x20 |  | 0x023 |  |  |
| CardRenout(Bus Renout) | 0x024 | 0x20 |  | 0x024 |  |  |
| SysClk (16 MHz) | 0x025 | 0x20 |  | 0x025 |  |  |
| LT_Reset*(end of event) | 0x026 | 0x20 |  | 0x026 |  |  |
| Readout_evt_match | 0x027 | 0x20 |  | 0x027 |  |  |
| Reset_Fifo* | 0x028 | 0x20 |  | 0x028 |  |  |
| DecodeSel(CardChipSelect) | 0x029 | 0x20 |  | 0x029 |  |  |
| Strobe_Dec2 | 0x02A | 0x20 |  | 0x02A |  |  |
| Dclk | 0x02B | 0x20 |  | 0x02B |  |  |
| DCS* | 0x02C | 0x20 |  | 0x02C |  |  |
| DDin | 0x02D | 0x20 |  | 0x02D |  |  |
| Coding_Bus | 0x02E | 0x20 |  | 0x02E |  |  |
| Spare | 0x02F | 0x20 |  | 0x02F |  |  |
| Readout Event Fault more than 1 | 0x030 | 0x20 |  | 0x030 |  |  |
| Readout Event Fault | 0x031 | 0x20 |  | 0x031 |  |  |
| Vme Address 1 | 0x032 | 0x20 |  | 0x032 |  |  |
| Vme Address 2 | 0x033 | 0x20 |  | 0x033 |  |  |
| Vme Address 3 | 0x034 | 0x20 |  | 0x034 |  |  |
| Vme Address 4 | 0x035 | 0x20 |  | 0x035 |  |  |
| Vme Address 5 | 0x036 | 0x20 |  | 0x036 |  |  |
| Not Used (DI Disable) | Disable | valus not = 0x20 |  | xxxx |  |  |

2.3.2.2 	Analog inspection lines:

Analog Inspection line 1 : VME base Address: 0x228 (channel Select), & 0x22A (Source Select).

To Disable the Analog inspection Line 1 write 0x00 at address 0x228.

Analog Inspection line 2 : VME base Address : 0x22C (channel Select), and 0x22E (Source Select).

To Disable the Analog inspection Line 2 write 0x00 at address 0x22C.

| parameters Line1 = Line2 = | GIR Control Lines to Analogue Card AI 1 :AnaSelA [2..0] AI 2 :AnaSelB [2..0] | GIR Control Lines to Analogue Card AI 1: AnaEnA AI 2: AnaEnB | Data Value for Channel Address | Data Value for Source Address |
| --- | --- | --- | --- | --- |
| Disable | xx | 0 | 0x00 | xx |
| ?????? | 000 | 1 | 1 | 000 |
| ?????? | 001 | 1 | 1 | 001 |
| ?????? | 010 | 1 | 1 | 010 |
| ?????? | 011 | 1 | 1 | 011 |
| ?????? | 100 | 1 | 1 | 100 |
| ?????? | 101 | 1 | 1 | 101 |
| ?????? | 110 | 1 | 1 | 110 |
| ?????? | 111 | 1 | 1 | 111 |

2.3.2.3 	Voltage inspection line:

VME base Address : 0x230 (channel select), and 0x232 (Source select).

To Disable the Voltage Inspection line : write 0x00 at address 0x230.

| parameters | GIR Control Lines to Analogue Card VSel [3..0] | GIR Control Lines to Analogue Card Venable[2..0] | Data Value for Channel Address | Data Value for Parameter Address |
| --- | --- | --- | --- | --- |
| Disable | xxxx | 000 | 0x00 | xx |
| ?????? | 0000 | 001 | 1 | 0x00 |
| ?????? | 0001 | 001 | 1 | 0x01 |
| ?????? | 0010 | 001 | 1 | 0x02 |
| ?????? | 0011 | 001 | 1 | 0x03 |
| ?????? | 0100 | 001 | 1 | 0x04 |
| ?????? | 0101 | 001 | 1 | 0x05 |
| ?????? | 0110 | 001 | 1 | 0x06 |
| ?????? | 0111 | 001 | 1 | 0x07 |
| ?????? | 1000 | 001 | 1 | 0x08 |
| ?????? | 1001 | 001 | 1 | 0x09 |
| ?????? | 1010 | 001 | 1 | 0x0A |
| ?????? | 1011 | 001 | 1 | 0x0B |
| ?????? | 1100 | 001 | 1 | 0x0C |
| ?????? | 1101 | 001 | 1 | 0x0D |
| ?????? | 1110 | 001 | 1 | 0x0E |
| ?????? | 1111 | 001 | 1 | 0x0F |
| ?????? | see above | 010 | 1 | 0x10 to 0x1F |
| ?????? | see above | 100 | 1 | 0x20 to 0x2F |

2.3.3	Global Registers:

2.3.3.1 Xilinx_Init Select Status Register: VME base Address : 0x234

| Bit Number | Meaning when = 0 | Meaning when = 1 |
| --- | --- | --- |
| 0 | Disable FT/VAL Xilinx Init . | Enable FT/VAL Xilinx Init . |
| 1 | Disable Readout Xilinx Init. | Enable Readout Xilinx Init. |

2.3.3.2 	Module Control Register: VME base Address :  0x236

| Bit Number | Meaning when = 0 | Meaning when = 1 |
| --- | --- | --- |
| 0 to 3 | Not Allocated | Not Allocated |
| 4 | Analog Card PROM Write Disable | Analog Card PROM Write Enable |
| 5to7 | Not Allocated | Not Allocated |
| 8 | Reset FIFO Disable | Reset FIFO |
| 9 | Reset G.I.R. Disable | G.I.R. Reset |
| 10 | Not Last Card | Last Card (use terminators) |
| 11 | Invert SAROC data in run mode | use normal buffers for SAROC data in run mode |
| 12 TO 15 | Not Allocated | Not Allocated |

2.3.3.3 	FT/VAL Programming Register : VME base Address : 0x300

| Bit Number | Meaning when = 0 | Meaning when = 1 |
| --- | --- | --- |
| 0 | Disable FT/VAL Data in. | Enable FT/VAL Data in. |
| 1 | Disable FT/VAL clock. | Enable FT/VAL clock. |
| ?? -> ?? | Not Allocated | Not Allocated |

# LCA programming by VXI bus.

# Before downloading LCAs, the bits [5:3]  FTA VAL LCA mode control of BCR2 register must be initialized.

# By writing datas at address 0x300, LCA is directly downloaded. The 8 bits data bus is converted parallele to serial. Serial datas are on the AP1 C43 : FTV_LCA_DIN (LSB first). Each data is latched with the positive edge of the FTV_LCA_CLK : AP1 A44. Setup time = 60 ns (data stable before the rising edge) hold time = 60 ns (data stable after the rising edge of the clock).

0x3C

Data_in[7:0]

FTV_LCA_clk

FTV_LCA_din

2.3.4	Group and Item number Register Area : VME base Address : 0x320 to 0x32E.

| 0x 320 | 16 | r/w | Event Number LSB: Group and Item number |
| --- | --- | --- | --- |
| 0x 322 | 16 | r/w | Event Number MSB: Group and Item number |
| 0x 324 | 16 | r/w | FT/LCA Pattern: Group and Item number |
| 0x 326 | 16 | r/w | Trigger TAC ADC: Group and Item number |
| 0x 328 | 16 | r/w | Sumbus1 Peak Value: Group and Item number |
| 0x 32A | 16 | r/w | Sumbus2 Peak Value: Group and Item number |
| 0x 32C | 16 | r/w | Sumbus3 Peak Value: Group and Item number |
| 0x 32E | 16 | r/w | Sumbus4 Peak Value: Group and Item number |

2.3.5	Scaler Register Area : VME base Address : 0x1000 to 0x101C.

| 0x 1000 | 32 | r/w | Scaler 1 |
| --- | --- | --- | --- |
| 0x 1004 | 32 | r/w | Scaler 2 |
| 0x 1008 | 32 | r/w | Scaler 3 |
| 0x 100C | 32 | r/w | Scaler 4 |
| 0x 1010 | 32 | r/w | Scaler 5 |
| 0x 1014 | 32 | r/w | Scaler 6 |
| 0x 1018 | 32 | r/w | Scaler 7 |
| 0x 101C | 32 | r/w | Scaler 8 |

2.3.6 	G.I.R. Readout Memory Map : VME base Address : 0xA0 to 0xBE.

| Base Addresses | Bus Width | Read/ Write | Function |
| --- | --- | --- | --- |
| 0xA0 | 16 | r/w | G.I.R. Event Counter Load Register |
| 0xA2 | 16 | r/w | Item + Group no. of the G.I.R. Event Counter Register |
| 0xA0 | 32 | read only | Item + Group no. (16MSB) + Event Counter (16LSB) for the G.I.R. Event Counter Register |
| 0xA4 | 32 | r/w | Fifo Test Enable (Read and Write into the G.I.R. FIFO) |
| 0xA8 | 16 | r/w | G.I.R. Readout Control Register |
| 0xAA | N.A. | read write | Send Renin to M.T. in test mode (bit0 of RCR must =1) Send LastPass in test mode (bit0 of RCR must =1) |
| 0xAC | 16 | r only | Readout, Temperature Status Register (see sec |
| 0xAE | 16 | r/w | Valack Timeout Register (multiple of 62.5 ns) (100 <t< 4 sec.) (active when bit2 of RCR is 1) e.g. to have 100 us timeout write the value 0x640 (1600). |
| 0xB0 | 32 | r only | Qstat1,Qstat0 counter (16 bit each). The Qstat1 counter is to count the number of event faults difference more than one. Qstat0 counter for the number of event faults. Qstat1 value in 16 MSB, Qstat0 value is in 16 LSB |
| 0xB4to 0xBE | N.A. | r/w | Not yet Implemented |

2.3.6.1 G.I.R. Readout Control Register (RCR):  VME base Address : 0xA8

| Bit Number | Meaning when = 0 | Meaning when = 1 |
| --- | --- | --- |
| 0 | Run mode for SIROP readout | Test mode for SIROP readout |
| 1 | Run mode for External readout | Test mode for External readout |
| 2 | Disable Valack Timeout Reset | Enable Valack Timeout Reset |
| 3 | Enable Readout from G.I.R. | Disable Readout from G.I.R. (card is bypass) |
| 4 | Not yet defined | Not yet defined |
| 5 | no pipelining at all (dead until VXI Readout ends) LT_Reset asserted at the end of external Readout | Pipeline Readout stage (dead until data are in FIFO) (N.A.Y.) LT_Reset asserted at the end of internal Readout |
| 6 | Event Number Readout on | Event Number Readout off |
| 7 | Common Deadtime Readout mode (Eurogam I & II) | Euroball Readout mode |
| 8 | not used | not used |
| 9 | not used | not used |
| 10 | not used | not used |
| 11 | Use Event Number Q = 00 given by 0xa2 register | Use Event Number Q (qstat1,qstat0) (see sec 2.3.7.1.1) |
| 12 TO 15 | Not yet defined | Not yet defined |

(N.A.Y.) (Not Available Yet )

2.3.6.1.1 G.I.R. Qstatus Table:

| Qstat1:Qstat0 | Meaning When Set |
| --- | --- |
| 00 | Trigger Broad cast nibble is equal to G.I.R. event counter Least Significant Nibble |
| 01 | The difference betwseen Trigger Broad cast nibble and the G.I.R. event counter is more than one |
| 10 | The difference betwseen Trigger Broad cast nibble and the G.I.R. event counter is one |

2.3.6.2 G.I.R. Readout Status Register (not fixed): VME base Address : 0xAC

| Bit Number | Meaning when = 0 | Meaning when = 1 |
| --- | --- | --- |
| 0 | G.I.R. Temperature indicator is above the upper threshold | G.I.R. Temperature indicator is below the upper threshold |
| 1 | G.I.R. Temperature indicator is below the lower threshold | G.I.R. Temperature indicator is above the lower threshold |
| 2 | Temperature indicator 1 is above the upper threshold | Temperature indicator 1 is below the upper threshold |
| 3 | Temperature indicator 1 is below the lower threshold | Temperature indicator 1 is above the lower threshold |
| 4 | Temperature indicator 2 is above the upper threshold | Temperature indicator 2 is below the upper threshold |
| 5 | Temperature indicator 2 is below the lower threshold | Temperature indicator 2 is above the lower threshold |
| 6 | Valack Timeout deasserted | Valack Timeout asserted |
| 7 | Empty Flag of Fifo1 asserted | Empty Flag for Fifo1 deasserted |
| 8 | Full Flag of Fifo1 asserted | Full Flag for Fifo1 deasserted |
| 9 | NOT USED | NOT USED |
| 10 | NOT USED | NOT USED |
| 11 | NOT USED | NOT USED |
| 12 | NOT USED | NOT USED |
| 13 | Status: No fault | Status: Event fault 0 |
| 14 | Status: No fault | Status: Event fault 1 |
| 15 | Status: No fault | Status: Event fault 2 |

2.3.6.2.1 Event Fault Status:

| Event Fault Satus | Meaning When Set |
| --- | --- |
| Event Fault 0 | local event number fails to match broadcast event number |
| Event Fault 1 | Resynchronised by exactly 1 count (latched). |
| Event Fault 2 | Resynchronised by more than 1 count (latched). |

3.			General Figures:

3.1.Isometric View of the G.I.R. & the Analog card:

3.2.	Copper Barrel Mechanical Dimensions,& PCB_AP board connections:

3.3. Master Trigger Dacs, Serial E²Prom, & Temperature Sensor connections figure :

3.4. GIR power supply ratings on the AP connectors for the Analog card:

| Voltage | Current +/-10% |
| --- | --- |
| - 2 V | 8 A |
| + 5 V | 7 A |
| - 5.2 V | 10 A |
| + 12 V | 2 A |
| - 12 V | 2 A |
| + 24 V | 2 A |
| - 24 V | 2 A |

3.5. Readout Interface Timing Diagram between the Master Trigger, and the G.I.R.:

Validation

Valack

StartReadout

Renin

RDO_Dtready

RDO_Dtack

Last_pass

VRE Readout Deadtime

LT_Reset

Note that in Pipeline Readout LT_Reset comes when Last_Pass comes, which is the same timing as the parallel mode unless the Master Trigger has a FIFO inside which handles several events before the readout into the G.I.R. of the current event. I think we must discuss in detail those problems to optimise the functioning of the Trigger, and to be the most reliable possible.