## Slide 1
SpecMAT Spectroscopy in a Magnetic Active Target
M. Babo, R. Raabe
KU Leuven, Instituut voor Kern- en Stralingsfysica

## Slide 2: The physics (motivation)
stable nuclei
observed nuclei
unknown nuclei (predicted)
8
2
20
28
50
126
208Pb
78Ni
82
28
20
8
50
82
Changes in nuclear structure far from stability
  Shell evolution towards 78Ni
  Shape coexistence “west” of 208Pb

## Slide 3: Shell evolution towards 78Ni
  Emptying of the fp shells
  Migration (and inversion?) of d5/2 and s1/2 due to tensor interaction
?
  Low-energy state: half-life of the E2 transition increase
Courtesy of D. Verney, IPN Orsay

## Slide 4: Shell evolution towards 78Ni
S. Franchoo et al., PRL 81 (1998) 3100
K. Flanagan et al., PRL 103 (2009) 142501
p3/2
f5/2
  Migration of πf7/2, πf5/2 as νg9/2 is filled (tensor interaction)

## Slide 5: Shell evolution towards 78Ni
  Migration of πf7/2, πf5/2 as νg9/2 is filled (tensor interaction)
f5/2
f7/2
proton
neutron
g9/2
K. Sieja, F. Nowacki,
PRC 81 (2010) 061303(R)
T. Otsuka, et al.,
PRL 104 (2010) 012501

## Slide 6: Shell evolution towards 78Ni
  Migration of πf7/2, πf5/2 as νg9/2 is filled (tensor interaction)
f5/2
f7/2
proton
neutron
g9/2
K. Sieja, F. Nowacki,
PRC 81 (2010) 061303(R)
T. Otsuka, et al.,
PRL 104 (2010) 012501
  (d,3He) on 70-76Zn
Zn
πf7/2
πp3/2
πf5/2
28

## Slide 7: Single-particle and deformation
68Ni
  “Type II” shell evolution
  Deformation can induce changes in occupancy…
  which, through the tensor interaction, modifies the gaps between shells

## Slide 8: Shape coexistence “west” of 208Pb
  States characterised by different shapes appear at low excitation energy
  Example: n-deficient Pb region 186Pb triple-shape coexistence Hg nuclei: “parabolic intrusion” at mid-shell
A. Andreyev et al., Nature 405 (2000) 430
Data: NNDC Original figure in R. Julin et al., J. Phys. G 27 (2001) R109
186Pb

## Slide 9: Shape coexistence “west” of 208Pb
  States characterised by different shapes appear at low excitation energy
  Example: n-deficient Pb region 186Pb triple-shape coexistence Hg nuclei: “parabolic intrusion” at mid-shell
A. Andreyev et al., Nature 405 (2000) 430
Data: NNDC, figure courtesy of Liam Gaffney Original figure in R. Julin et al., J. Phys. G 27 (2001) R109
186Pb
  (d,p) and (p,d) transfers on 184,185g,185mHg (possibly 182Hg), 188Pb, 196Po

## Slide 10: Shape coexistence “west” of 208Pb
  Deformation also in n-rich Cd isotopes
  Occupation number of the 2p-2h states 0+2 is changing.
  Could be due to migration of
  (d,p) and (p,d) transfers on odd-A Cd and possible two-neutron transfer
A. Blazhev et al, EPJ Web of Conf. 93, 01016 (2015)

## Slide 11: Problem: density of states
Importance of 𝛾-ray detection
  Transition probabilities
  Energy resolution from coincidences
  Build the decay scheme
J. Diriken et al., PLB 736, 533 (2014) J. Diriken et al., PRC 91, 054321 (2015)
25Na(d,p)
66Ni(d,p)
G. Wilson et al., PLB 759, 417 (2016)

## Slide 12: Method: active target + 𝛾-ray array
  Challenges
  Resolution
  Efficiency
  → Choices
  Active target
  Magnetic field parallel to beam direction to confine emitted particles and minimize material
  + 𝛾-ray detection

## Slide 13: Challenges for 𝛾-ray detection
  Good resolution and efficiency
  Placement in a magnetic field
  Possible use of digital electronics
  Budget

## Slide 14: Challenges for 𝛾-ray detection
  Good resolution and efficiency
  Placement in a magnetic field
  Possible use of digital electronics
  Budget
  → Scintillation crystals (LaBr3 or CeBr3)
  → Silicon photomultipliers (SiPMs)
  → Compact design

## Slide 15: Challenges for 𝛾-ray detection
  Good resolution and efficiency
  Placement in a magnetic field
  Possible use of digital electronics
  Budget
  → Scintillation crystals (LaBr3 or CeBr3)
  → Silicon photomultipliers (SiPMs)
  → Compact design

## Slide 16: Characterising the scintillation crystals
  Test resolution against - SiPMs - Digital electronics - Magnetic field
  Optimise efficiency - validate results of simulations
  New tests this summer with final GET electronics

## Slide 17: Efficiency
  Detector size
  → the bigger the better
Work of J.A. Swartz, O. Poleshchuk
Chart: Comparison of EffAbs for 3 sizes of CeBr3 crystals
| 3000.0 | 2500.0 | 2000.0 | 1500.0 | 1000.0 | 900.0 | 800.0 | 700.0 | 600.0 | 500.0 | 400.0 | 300.0 | 200.0 | 190.0 | 180.0 | 170.0 | 160.0 | 150.0 | 140.0 | 130.0 | 120.0 | 110.0 | 100.0 | 90.0 | 80.0 | 70.0 | 60.0 | 50.0 | 40.0 | 30.0 | 20.0
Hex, 54cryst, 1,5"x1,5"x1,5", Rin=119,512mm | 1.9325 | 2.3668 | 3.0165 | 4.0223 | 5.9995 | 6.6597 | 7.4523 | 8.5361 | 9.9636 | 12.1017 | 15.2453 | 20.2239 | 26.443 | 27.0263 | 27.5526 | 28.0877 | 28.5427 | 28.9759 | 29.2891 | 29.5543 | 29.6942 | 29.6704 | 29.5288 | 29.0799 | 28.3442 | 27.0483 | 24.7123 | 20.7812 | 14.1396 | 5.0816 | 0.087567
Hex, 54cryst, 1,5"x1,5x2", Rin=119,512mm | 2.4644 | 3.0009 | 3.7484 | 4.9365 | 7.1516 | 7.8608 | 8.7548 | 9.8848 | 11.4157 | 13.5492 | 16.6536 | 21.3226 | 26.9368 | 27.4898 | 27.9548 | 28.4506 | 28.851 | 29.2671 | 29.5979 | 29.8057 | 29.9112 | 29.8581 | 29.7398 | 29.2526 | 28.4528 | 27.1398 | 24.7515 | 20.7882 | 14.1379 | 5.0805 | 0.087533
Hex, 54cryst, 2"x2"x2", Rin=153,286mm | 3.5464 | 4.2288 | 5.2187 | 6.7083 | 9.3493 | 10.2355 | 11.2945 | 12.5582 | 14.3362 | 16.662 | 20.0494 | 24.7687 | 30.0258 | 30.4699 | 30.8822 | 31.2797 | 31.6433 | 31.9777 | 32.1736 | 32.3281 | 32.3939 | 32.3051 | 32.0736 | 31.5907 | 30.7273 | 29.2516 | 26.7616 | 22.546 | 15.4353 | 5.5663 | 0.096233
mm
mm

## Slide 18: Efficiency
  1.5”x1.5”x1.5” CeBr3 at 120 mm
  → Simulation under control
Work of J.A. Swartz, O. Poleshchuk
Chart: Energy, keV
| 3000.0 | 2500.0 | 2000.0 | 1500.0 | 1332.492 | 1173.228 | 1000.0 | 964.0569999999979 | 900.0 | 800.0 | 778.9045 | 700.0 | 661.6569999999994 | 600.0 | 500.0 | 400.0 | 344.27 | 300.0 | 244.69 | 200.0 | 190.0 | 180.0 | 170.0 | 160.0 | 150.0 | 140.0 | 130.0 | 120.0 | 110.0 | 100.0 | 90.0 | 80.0 | 70.0 | 60.0 | 50.0 | 40.0 | 30.0 | 20.0
Sim | 0.042233 | 0.051567 | 0.0683 | 0.089267 | 0.1027 | 0.11543 | 0.13483 | 0.13693 | 0.1502 | 0.1681 | 0.17037 | 0.1879 | 0.20033 | 0.22017 | 0.27147 | 0.33963 | 0.39687 | 0.452 | 0.5344 | 0.59413 | 0.60517 | 0.6131 | 0.6231 | 0.63117 | 0.63833 | 0.6492 | 0.64757 | 0.65367 | 0.6559 | 0.66233 | 0.65413 | 0.64267 | 0.61133 | 0.57437 | 0.50033 | 0.3608 | 0.14357 | 0.0031
Exp | 0.095486 | 0.079057 | 0.088273 | 0.13451 | 0.15524 | 0.17631 | 0.53945

## Slide 19: Efficiency
  Add-back only neighboring crystal
  @ 662 keV : eff. up to 17%
Work of J.A. Swartz, O. Poleshchuk

## Slide 20: Resolution
  Tests in 3T-magnetic field at the UZ Leuven
  1,5”x1,5”x1,5” LaBr3 and CeBr3 crystals
  C-series SiPM array
  Analog, Standard digital (CAEN) and GET system
Work of J.A. Swartz, O. Poleshchuk
  → No measurable effect of the magnetic field → Resolution worse (≈1%) through use of SiPMs and digital electronics
 | DAQ | Analogue | CAEN | GET | GET
Detector | B-field | No field | No field | No field | AsAd in 3T
CeBr3+SiPM | No field | 5,3% | 5,7% | 6,0% | 6,5%
CeBr3+SiPM | 3T | 5,3% | 5,6% | 6,0% | 
LaBr3+SiPM | No field | 3,5% | 3,7% | 4,2% | 
LaBr3+SiPM | 3T | 3,5% | 3,9% | 4,2% | 
B-field direction
B-field direction

## Slide 21: The real thing
  Tender assigned
  2”x 2”x 2” CeBr3 crystals from Hellma (Germany)
  J-series SiPM array
  Custom break-out board
  Assembly: Scionix (Holland) guaranteed resolution: 3.9%
  30 scintillators in production

## Slide 22: Challenges for 𝛾-ray detection
  (Preliminary) Schematic view of the geometry

## Slide 23: Challenges for 𝛾-ray detection
  Electronics included …

## Slide 24: Challenges for particle detection
  Pad plan for commissioning the electronics

## Slide 25: Challenges for particle detection
  Simulation of the drift cage (pitch and size of wires)

## Slide 26: Status – Conclusions
  Scintillation detectors purchased, delivery within 8 months
  Chamber design in full progress
  GET electronics (2000 channels) acquired
  First version pad plane and assembly by Spring 2018
  First measurements in 2018-19
  Thanks to the SpecMAT team!
  A. Arokja Raj, M. Babo, S. Ceruti, T. Marchi, O. Poleshchuk, R. Raabe, M. Renaud, H. De Witte, J. Yang
  The research leading to these results has received funding from the European Research Council under the European Union's Seventh Framework Programme (FP/2007-2013) / ERC Grant Agreement n. 617156